[image: image1.jpg]


Town of Grand Isle Building Department
Po Box 200 • 170 Ludwig Lane • Grand Isle, LA • 70358
New Construction Permit Application Checklist
All work on Grand Isle requires a building permit except for painting and finish flooring.  It is the contractor’s responsibility to confirm that a valid permit has been issued and is displayed on site prior to starting any work.  Address is to be posted on site and provision for construction debris removal to be made.  Dumpsters are to be located a minimum of 20 feet from the building.
*** DHH Temp Permit or DHH approval
1. Contact Entergy at 800-368-3749 to request for an entergy member of staff to come to your work site to inform you of electrical requirements (temporary pole, meter placement, etc.)                                                                Before a permit will be issued you must have your Entergy account opened.  

2. Set up an account with Grand Isle Utilities.
3. Completed Permit Application Form Must have:
· Owner’s name, mailing address, phone number to contact, & jobsite address.

· Description of work to be done, type of permit, and estimated value of labor and materials

· Contractor’s name, Grand Isle occupational license number, phone number and state license number if applicable (electrical & mechanical over $10,000, new construction over $50,000, additions or remodeling over $1,500). If owner just put “Owner” and fill out exemption from licensure form.
· Copy of most recent property tax statement, subdivision, lot and square number.

· Proof of property ownership.

· Permit applicant’s name, address and phone number.  If either the contractor or the owner is the applicant just put “Owner” or “Contractor”, for all other applicants fill in completely.

· Height, dimension and square footage of building, porches (or decks) and lot.

· Type of materials to be used for framing, siding and roofing, example: wood, vinyl, hardie, metal.

4. Elevation certificate, one prior to construction and one after project completion, vacant lots will also require the property corners to be marked by a licensed surveyor; V Zone Certificate, Non Conversion Agreement
5. Construction plans (Minimum for folder11 ½ “x 17, Full for review”) , depending on work to be done, new construction and additions require:

*    All plans must be stamped for 150 mph wind zone by a licensed structural engineer or architect.

· Site plan showing property line, street address, outline of existing & proposed building(s)/additions, dimensions of building(s)/additions and distances to property lines.
· Foundation plan showing outline of building, pile layout with dimensions between piles, concrete slab and lower storage enclosure if applicable.

· Floor plan showing room labels, room dimensions, windows, doors,  plumbing fixtures, electrical plan showing switches, light fixtures, outlets and location of main breaker panel,  meter pan, water heater, air conditioning and furnace. (Meter must be above BFE)
· Floor framing plan showing dimensions, spacing and direction of joists and sills, can be combined with pile layout plan.
· Ceiling joist and roof framing plan showing room outlines with dimensions, ceiling joist and rafter sizes, spacing and direction of run.  Also note roof pitch and ridge board size.

· Elevation drawings (4 side views), showing height above grade to bottom of sill, wall heights, roof ridge height and roof pitch, windows and doors, lower enclosure if applicable.

· Structural Section at longest span showing wall and roof framing, roof bracing, wall ceiling and roof sheathing, floor framing, subfloor, sill to pile connections and proposed hurricane strapping callouts.
6. Application for sewage treatment system. (See Attached)
7. Required Inspections:











Building Location Layout:

· Prior to driving piles, after the foundation/pilings have been laid out and piles are on site, Approved construction plans must be on jobsite at time of inspection.
Under Slab Plumbing or Reinforcing Steel:

· Steel: After forms are built and all rebar, post tension cables, anchors and vapor barrier are in place, prior to pouring concrete.  
· Plumbing: Before any under ground plumbing or electrical trench is covered by dirt, concrete or any floor system.  10’ tall main vent stack filled with water and all DWV lines capped. Or DWV lines pressurized to 15 psi.  Gas plumbing pressurized to 15 psi for 15 minutes.
Framing, Rough-in or Open wall inspections:

· Exterior Framing and Sheathing, after sheathing is nailed and prior to installation of housewrap, felt and siding.  All uplift straps, rods and anchors must be installed prior to this inspection.

· Interior Framing, after all interior wall framing, electrical and/or plumbing rough-ins have been completed and before any interior walls are insulated or sheet rocked.

· Final Inspections:  
· Electrical: After all electrical outlets, receptacles, switches and fixtures have been installed, building address must be permanently displayed prior to permanent power hookup by Entergy.  

· Plumbing: After all plumbing fixtures have been installed.

· Mechanical/HVAC : After all units and ductwork are in place.

· Building/Structure: After insulation, siding and sheetrock are installed.

For inspections call the Building Department at 985-787-3196, Monday thru Thursday 8-4 & Friday 8-3.  Other inspections may be required or requested at any time prior to or during construction.  Saturday inspections available upon request.
8. Get final elevation certificate.

9. Turn in to Building Department, your Sewage Treatment Checklist you received from installer.

10. Be sure all fees are paid (trash, water and gas installation).

11. Prior to occupancy, get Certificate of Occupancy form from Building Department after all construction has been completed- storm shutters are installed, site trenches filled, debris removed, smoke detectors installed, etc. 

Be aware that Grand Isle is in a 150 mph hurricane wind zone and AE or VE coastal special hazard flood zone.  Flood elevations are based on flood maps found at www.lamappingproject.com regardless of flood elevation shown on elevation certificate.  Flood elevation is measured from sea level to finished floor in an AE zone and to the lowest horizontal structural member (sill) in a VE zone.
Please note:  Work must begin within 90 days of permit issuance and be completed within one year or permit will be invalid.  A one time renewal ($25 fee) may be granted if requested prior to expiration of permit otherwise all uncompleted work will have to be done under a new permit.
