554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

June 23, 2025

Kenny Wortmann, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana  70471

Re: Permit #2024-2265

Mike Divinvinti

55 N. Treasure Isles Dr.

Slidell, La. 70461

Dear Mr. Wortmann

Per our site visit at the above address. The breakaway walls are modified to meet the FEMA breakaway requirement. Some studs were removed to meet the stud placement. Some utility pipes were rerouted off the breakaway walls. Where a utility lines passes through the breakaway wall it is blocked out per FEMA design. Also, flood vents are installed per FEMA design.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187