## Sheet1
Number |  |  |  | Title | Vendor or Subcontractor | Received |  | Returned |  |  | Response |  |  |  | Allow 15 business days for review of each submittal
Specification Number | Submittal Item No. | Resubmittal No. | Contractor Submittal No. |  |  | Date Received | Copies or Electronic (E) | Date Sent | Copies Returned | Date Due Back | Reviewed | Reviewed as Noted | Revise & Resubmit | Rejected
Comments
23 73 13 | 01 |  | 001 | AHU | Daikin Applied | 2021-01-18 | E | 2021-01-21 |  | 2021-02-02
23 33 00 | 01 |  | 002 | VAV Terminals | Metalaire | 2021-01-18 | E | 2021-01-21 |  | 2021-02-02
23 07 19 | 01 |  | 003 | Insulation | Insulation Sales & Service, LLC | 2021-01-21 | E | 2021-01-21 |  | 2021-02-05
23 31 13 | 01 |  | 004 | Diffusers, Registers, and Grilles | Air-Side Equipment, Inc | 2021-01-21 | E | 2021-02-02 |  | 2021-02-05
23 33 00 | 01 |  | 004 | Fire Damper | Air-Side Equipment, Inc | 2021-01-21 | E | 2021-02-02 |  | 2021-02-05
23 73 13 | 01 | 01 | 001 | AHU | Daikin Applied | 2021-02-02 | E | 2021-02-12 |  | 2021-02-17
09 29 00 | 01 |  | 005 | Access Hatch | ACUDOR | 2021-02-10 | E | 2021-02-12 |  | 2021-02-25
23 31 13 | 02 |  | 006 | Flex duct | Royal Metals | 2021-04-20 | E | 2021-05-12 |  | 2021-05-05
23 09 00 | 01 |  | 007 | BACnet Controller | TempCon | 2021-05-05 | E | 2021-05-12 |  | 2021-05-20
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
1900-01-14
Formulas:
Date Due Back = [Received]+15