554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

Mr. Mark E Bradley  									August 15, 2019

Project Manager FP&C

1450 Poydras St., Suite 1130

New Orleans, LA 70112

Re:  Justification for Sole Source : Troop L : HVAC Replacement

Project No 01-107-06B-11, F.01003807;  State ID: S00814; Site Code: 1-52-004

Mr. Bradley,

Examples of circumstances which could necessitate sole source procurement are: a. where the compatibility of equipment, accessories, or replacement parts is the paramount consideration

The existing HVAC is currently connected to a proprietary Fire Alarm System that is maintained by Advantage Alarm.  During the replacement of the Air Handler Unit (AHU) this device must be disconnected from the alarm system and reconnected to the AHU by a certified installer approved by the State Fire Marshal’s office.  Since the system is a proprietary system that is currently maintained by

If you have any questions, please contact us.

Thank You,

David Dammon

President

Bill Kingsmill’s contact information is as follows:

William Kingsmill (kingsmillprop@bellsouth.net)

Cell: (504) 528 3838

1200 Business Highway 190, Suite 13

Covington, LA 70433

Lawrence Wm. Haik, Sr

Republic Commercial Properties, LLC

1539 Royal Palm Dr.

Slidell, LA 70458

(985) 960-7033