CITY OF SLIDELL

CDBG SIDEWALK IMPROVEMENTS PROJECT

DISTRICT A / LINCOLN PARK

SLIDELL LA  70458


SECTION 01700
EXECUTION REQUIREMENTS
Copyright 2002, The American Institute of Architects (AIA)

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes general procedural requirements governing execution of the Work including, but not limited to, the following:

Adjust list below to suit Project.

1. Construction layout.

2. Field engineering and surveying.

3. General installation of products.

4. Coordination of Owner-installed products.

5. Progress cleaning.

6. Protection of installed construction.

7. Correction of the Work.

B. Related Sections include the following:

List below only procedures that the reader might expect to find in this Section but are specified elsewhere.  See Evaluations about first subparagraph below.

1. Division 1 Section "Project Management and Coordination" for procedures for coordinating field engineering with other construction activities.

Revise subparagraph below to suit Project.

2. Division 1 Section "Closeout Procedures," recording of Owner-accepted deviations from indicated lines and levels, and final cleaning.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION

3.1 EXAMINATION

Retain paragraph and subparagraph below for renovation work.  Revise to suit Project.

A. Existing Conditions:  The existence and location of site improvements, utilities, and other construction indicated as existing are not guaranteed.  Before beginning work, investigate and verify the existence and location of mechanical and electrical systems and other construction affecting the Work.

1. Before construction, verify the location and points of connection of utility services.

Revise first paragraph and subparagraphs below to suit Project.  Verify with authorities having jurisdiction and utility companies.  Coordinate with Division 2 Sections.

B. Existing Utilities:  The existence and location of underground and other utilities and construction indicated as existing are not guaranteed.  Before beginning sitework, investigate and verify the existence and location of underground utilities and other construction affecting the Work.

C. Acceptance of Conditions:  Examine substrates, areas, and conditions, with Installer or Applicator present where indicated, for compliance with requirements for installation tolerances and other conditions affecting performance.  Record observations.

Delete first subparagraph and associated subparagraphs below if not required.

1. Written Report:  Where a written report listing conditions detrimental to performance of the Work is required by other Sections, include the following:

a. Description of the Work.

b. List of detrimental conditions, including substrates.

c. List of unacceptable installation tolerances.

d. Recommended corrections.

2. Proceed with installation only after unsatisfactory conditions have been corrected.  Proceeding with the Work indicates acceptance of surfaces and conditions.

3.2 PREPARATION

Revise first paragraph below to suit Project.

A. Existing Utility Information:  Furnish information to local utility that is necessary to adjust, move, or relocate existing utility structures, utility poles, lines, services, or other utility appurtenances located in or affected by construction.  Coordinate with authorities having jurisdiction.

B. Field Measurements:  Take field measurements as required to fit the Work properly.  Recheck measurements before installing each product.  Where portions of the Work are indicated to fit to other construction, verify dimensions of other construction by field measurements before fabrication.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

C. Space Requirements:  Verify space requirements and dimensions of items shown diagrammatically on Drawings.

Revise paragraph below to suit Project and special Owner requirements.

D. Review of Contract Documents and Field Conditions:  Immediately on discovery of the need for clarification of the Contract Documents, submit a request for information to Architect.  Include a detailed description of problem encountered, together with recommendations for changing the Contract Documents. Submit requests on AIA Form G716, "Request for Information."

3.3 CONSTRUCTION LAYOUT

A. Verification:  Before proceeding to lay out the Work, verify layout information shown on Drawings, in relation to the property survey and existing benchmarks.  If discrepancies are discovered, notify Architect promptly.

B. General:  

1. Establish benchmarks and control points to set lines and levels of construction and elsewhere as needed to locate each element of Project.

2. Establish dimensions within tolerances indicated.  Do not scale Drawings to obtain required dimensions.

3. Inform installers of lines and levels to which they must comply.

4. Check the location, level and plumb, of every major element as the Work progresses.

5. Notify Architect when deviations from required lines and levels exceed allowable tolerances.

C. Site Improvements:  Locate and lay out site improvements, including pavements, grading, fill and topsoil placement, utility slopes, and invert elevations.

Insert special requirements for laying out the Work to suit Project.

3.4 FIELD ENGINEERING

Revise first paragraph below to suit Project or delete.  Requirement exceeds that required in AIA Document A201, which only requires Owner to furnish a survey.

A. Identification:  Owner will identify existing benchmarks, control points.

B. Reference Points:  Locate existing permanent benchmarks, control points, and similar reference points before beginning the Work.  Preserve and protect permanent benchmarks and control points during construction operations.

1. Do not change or relocate existing benchmarks or control points without prior written approval of Architect.  Report lost or destroyed permanent benchmarks or control points promptly.  Report the need to relocate permanent benchmarks or control points to Architect before proceeding.

2. Replace lost or destroyed permanent benchmarks and control points promptly.  Base replacements on the original survey control points.

Insert additional requirements for preserving permanent benchmarks and control points.

C. Benchmarks:  

1. Where the actual location or elevation of layout points cannot be marked, provide temporary reference points sufficient to locate the Work.

2. Remove temporary reference points when no longer needed.  Restore marked construction to its original condition.

Retain first paragraph below if required by Owner or authorities having jurisdiction.

Insert other special field-engineering requirements, such as damage surveys, settlement surveys and reports, environmental impact surveys, and similar requirements, as needed.

3.5 INSTALLATION

A. General:  Locate the Work and components of the Work accurately, in correct alignment and elevation, as indicated.

1. Make vertical work plumb and make horizontal work level.

B. Comply with manufacturer's written instructions and recommendations for installing products in applications indicated.

C. Conduct construction operations so no part of the Work is subjected to damaging operations or loading in excess of that expected during normal conditions of occupancy.

D. Tools and Equipment:  Do not use tools or equipment that produce harmful noise levels.

E. Joints:  Make joints of uniform width.  Where joint locations in exposed work are not indicated, arrange joints for the best visual effect.  .

F. Hazardous Materials:  Use products, and installation materials that are not considered hazardous.

Insert installation requirements to suit Project.  See Evaluations.

3.6 PROGRESS CLEANING

This Article refers to regular cleaning operations conducted while construction is in progress.  Requirements for final cleaning before Substantial Completion are included in Division 1 Section "Closeout Procedures."

A. General:  Clean Project site and work areas daily, including common areas.  .  Enforce requirements strictly.  Dispose of materials lawfully.

B. Site:  Maintain Project site free of waste materials and debris.

C. Work Areas:  Clean areas where work is in progress to the level of cleanliness necessary for proper execution of the Work.

1. Remove liquid spills promptly.

2. Where dust would impair proper execution of the Work, broom-clean or vacuum the entire work area, as appropriate.

D. Waste Disposal:  Burying or burning waste materials on-site will not be permitted.  Washing waste materials down sewers or into waterways will not be permitted.

Three paragraphs below reduce or eliminate the need for similar provisions in other Sections.  Insert other provisions needed because of unusual Project conditions.  Specify unusual provisions for specific work in the individual Section.

Special cleaning provisions are often required on projects that include alterations to existing buildings.  See Evaluations.

3.7 PROTECTION OF INSTALLED CONSTRUCTION

Revise first paragraph below to suit Project conditions and special Owner requirements.

A. Provide final protection and maintain conditions that ensure installed Work is without damage or deterioration until accepted.

3.8 CORRECTION OF THE WORK

A. Repair or remove and replace defective construction.  Restore damaged substrates and finishes.  

1. Repairing includes refinishing damaged surfaces, touching up with matching materials.

B. Restore permanent facilities used during construction to their specified condition.

C. Remove and replace damaged surfaces that are exposed to view if surfaces cannot be repaired without visible evidence of repair.

Insert additional requirements to suit Project.

END OF DOCUMENT
EXECUTION REQUIREMENTS

01700 - 6

