CITY OF SLIDELL PROJECT NO. 600-129
CITY HALL PARKING LOT & COURTYARD

BOUSCAREN STREET
SLIDELL LA  70458


SECTION 01100
SUMMARY
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

1. Work covered by the Contract Documents.

2. Type of the Contract.
3. Owner-furnished products

4. Use of premises.

5. Owner's occupancy requirements.

6. Work restrictions.

7. Specification formats and conventions.
8. Miscellaneous provisions.

B. Related Sections include the following:

1. Division 1 Section "Temporary Facilities and Controls" for limitations and procedures governing temporary use of Owner's facilities.

1.3 WORK COVERED BY CONTRACT DOCUMENTS

A. Project Identification:  City of Slidell – City Hall Parking Lot and Courtyard
1. Project Location:  Slidell, Louisiana

B. Owner:  City of Slidell
1. Owner's Representative:  Donna O’Dell
C. Architect:  Dammon Engineering, Inc.

D. Contractor:  ___________________________________ has been engaged as Contractor for this Project.

E. The Work consists of the following:

1. The Work includes new City Hall Parking Lot and Courtyard on Bouscaren Street in Slidell, Louisiana.

1.4 TYPE OF CONTRACT

A. Project will be constructed under a single prime contract.
1.5 OWNER-FURNISHED PRODUCTS

1. Contractor will furnish products indicated on the plans.  

2. Contractor is responsible for receiving, unloading, and handling all items at Project site.
1.6 USE OF PREMISES

A. Use of Site:  Limit use of premises to work in areas indicated.  Do not disturb portions of Project site beyond areas in which the Work is indicated.

1. Owner Occupancy:  Allow for Owner occupancy of Project site and use by the public.

2. Driveways and Entrances:  Keep driveways loading areas, and entrances serving premises clear and available to Owner, the public and emergency vehicles at all times.  Do not use these areas for parking or storage of materials.

a. Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

1.7 OWNER'S OCCUPANCY REQUIREMENTS

A. Full Owner Occupancy:  Owner will occupy site during entire construction period.  Cooperate with Owner during construction operations to minimize conflicts and facilitate Owner usage.  Perform the Work so as not to interfere with Owner's day-to-day operations.  

1. Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities.  Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from Owner and authorities having jurisdiction.

1.8 WORK RESTRICTIONS

A. On-Site Work Hours:  Work shall be performed during normal business working hours, early morning hours, and weekend hours, all by pre-arrangement only.

B. Existing Utility Interruptions:  Do not interrupt utilities serving facilities occupied by Owner or others unless permitted under the following conditions and then only after arranging to provide temporary utility services according to requirements indicated:

1. Notify Architect and Owner not less than five days in advance of proposed utility interruptions.

1.9 SPECIFICATION FORMATS AND CONVENTIONS

A. Specification Format:  The Specifications are organized into Divisions and Sections using the 16-division format and CSI/CSC's "MasterFormat" numbering system.

1. Section Identification:  The Specifications use Section numbers and titles to help cross-referencing in the Contract Documents.  Sections in the Project Manual are in numeric sequence; however, the sequence is incomplete because all available Section numbers are not used.  Consult the table of contents at the beginning of the Project Manual to determine numbers and names of Sections in the Contract Documents.

2. Division 1:  Sections in Division 1 govern the execution of the Work of all Sections in the Specifications.

B. Specification Content:  The Specifications use certain conventions for the style of language and the intended meaning of certain terms, words, and phrases when used in particular situations.  These conventions are as follows:

1. Abbreviated Language:  Language used in the Specifications and other Contract Documents is abbreviated.  Words and meanings shall be interpreted as appropriate.  Words implied, but not stated, shall be inferred as the sense requires.  Singular words shall be interpreted as plural, and plural words shall be interpreted as singular where applicable as the context of the Contract Documents indicates.

2. Imperative mood and streamlined language are generally used in the Specifications.  Requirements expressed in the imperative mood are to be performed by Contractor.  Occasionally, the indicative or subjunctive mood may be used in the Section Text for clarity to describe responsibilities that must be fulfilled indirectly by Contractor or by others when so noted.

a. The words "shall," "shall be," or "shall comply with," depending on the context, are implied where a colon (:) is used within a sentence or phrase.

1.10 MISCELLANEOUS PROVISIONS
A. Davis-Bacon Act, as amended (40 U.S.C. 276a to a-7) – Comply with the Davis Bacon Act above, and as supplemented by Department of Labor regulations (29CFR Part 5, “Labor Standard Provisions Applicable to Contracts Governing Federally Financed and Assisted Construction”).  Under this Act, contractors shall be required to pay wages to laborers and mechanics at a rate not less than the minimum wages specified in a wage determination made by the Secretary of Labor.  In addition, contractors shall be required to pay wages not less than once a week.  The Owner will provide a copy of the current prevailing wage determination issued by the Department of Labor and the award of the contract shall be conditioned upon the acceptance of the wage determination.  All suspected or reported violations shall be reported to the Federal awarding agency.
PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION (Not Used)

END OF DOCUMENT
SUMMARY

01100 - 4

