CITY OF SLIDELL PROJECT NO. 600-129
CITY HALL PARKING LOT & COURTYARD

BOUSCAREN STREET
SLIDELL LA  70458


SECTION 01732
SELECTIVE DEMOLITION
Copyright 2002 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Demolition and removal of selected site elements.

2. Salvage of existing items to be reused or recycled.

B. Related Sections include the following:

List below only procedures that the reader might expect to find in this Section but are specified elsewhere.

1. Division 1 Section "Summary" for use of premises and Owner-occupancy requirements.

2. Division 1 Section "Temporary Facilities and Controls" for temporary construction and environmental-protection measures for selective demolition operations.

3. Division 2 Section "Site Clearing" for site clearing and removal of above- and below-grade improvements.

1.3 DEFINITIONS

Retain definitions that remain after this Section has been edited.

A. Remove:  Detach items from existing construction and legally dispose of them off-site, unless indicated to be removed and salvaged or removed and reinstalled.

Salvage in first paragraph below may add cost to Project; verify with Owner.

B. Remove and Salvage:  Detach items from existing construction and deliver them to Owner ready for reuse.

C. Remove and Reinstall:  Detach items from existing construction, prepare them for reuse, and reinstall them where indicated.

D. Existing to Remain:  Existing items of construction that are not to be removed and that are not otherwise indicated to be removed, removed and salvaged, or removed and reinstalled.

1.4 MATERIALS OWNERSHIP

Delete references to historic items in this Article if not required.

A. Historic items, relics, and similar objects including, but not limited to, cornerstones and their contents, commemorative plaques and tablets, antiques, and other items of interest or value to Owner that may be encountered during selective demolition remain Owner's property.  Carefully remove and salvage each item or object in a manner to prevent damage and deliver promptly to Owner.

1.5 QUALITY ASSURANCE

A. Demolition Firm Qualifications:  An experienced firm that has specialized in demolition work similar in material and extent to that indicated for this Project.

Insert agenda items below not listed in Division 1 Section "Project Management and Coordination."

1.6 PROJECT CONDITIONS

Retain, revise, or delete this Article to suit Project.  Add other limitations if necessary, such as when adjacent floors will be occupied.

A. Owner will occupy portions of project immediately adjacent to selective demolition area.  Conduct selective demolition so Owner's operations will not be disrupted.

1. Comply with requirements specified in Division 1 Section "Summary."

Review first paragraph and subparagraph below and revise if necessary.  In subparagraph, include list of items that will be removed by Owner.

B. Conditions existing at time of inspection for bidding purpose will be maintained by Owner as far as practical.

C. Notify Architect of discrepancies between existing conditions and Drawings before proceeding with selective demolition.

Retain one of first three paragraphs and associated subparagraphs below, or remove all references to asbestos.  Expand scope of this Article to include PCBs or other materials if required.  Coordinate statements with the General and Supplementary Conditions.

D. Hazardous Materials:  It is not expected that hazardous materials will be encountered in the Work.

Retain subparagraph below to cover instances where hazardous materials are unexpectedly found and must be remediated.

1. If materials suspected of containing hazardous materials are encountered, do not disturb; immediately notify Architect and Owner.

E. Storage or sale of removed items or materials on-site is not permitted.

F. Utility Service:  Maintain existing utilities indicated to remain in service and protect them against damage during selective demolition operations.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION 
3.1 UTILITY SERVICES AND MECHANICAL/ELECTRICAL SYSTEMS

A. Existing Services/Systems:  Maintain services/systems to remain and protect them against damage during selective demolition operations.

1. Comply with requirements for existing services/systems interruptions specified in Division 1 Section "Summary."

Delete paragraph and subparagraphs below if not applicable or if Owner arranges and performs work.

B. Service/System Requirements:  Locate, identify, disconnect, and seal or cap off indicated utility services and mechanical/electrical systems serving areas to be selectively demolished.

Delete subparagraph above or first subparagraph below to suit Project.

1. Arrange to shut off utilities with utility companies if required.
3.2 PREPARATION

A. Site Access and Temporary Controls:  Conduct selective demolition and debris-removal operations to ensure minimum interference with roads, streets, walks, walkways, and other adjacent occupied and used facilities.

1. Comply with requirements for access and protection specified in Division 1 Section "Temporary Facilities and Controls."

Revise paragraph and subparagraph above and first paragraph and subparagraphs below to suit Project.  Delete all if adequately covered in Division 1 Section "Temporary Facilities and Controls."

B. Temporary Facilities:  Provide temporary barricades and other protection required to prevent injury to people and damage to adjacent buildings and facilities to remain.

1. Provide protection to ensure safe passage of people around selective demolition area and to and from occupied portions of building.

C. Temporary Shoring:  Provide and maintain shoring, bracing, and structural supports as required to preserve stability and prevent movement, settlement, or collapse of construction and finishes to remain, and to prevent unexpected or uncontrolled movement or collapse of construction being demolished.

1. Strengthen or add new supports when required during progress of selective demolition.

3.3 SELECTIVE DEMOLITION, GENERAL

A. General:  Demolish and remove existing construction only to the extent required by new construction and as indicated.  Use methods required to complete the Work within limitations of governing regulations and as follows:

1. Remove decayed, vermin-infested, or otherwise dangerous or unsuitable materials and promptly dispose of off-site.

2. Dispose of demolished items and materials promptly.

B. Removed and Salvaged Items:

1. Store items in a secure area until delivery to Owner.

C. Removed and Reinstalled Items:

1. Reinstall items as required.  Comply with installation requirements for new materials and equipment.  Provide connections, supports, and miscellaneous materials necessary to make item functional for use indicated.

In paragraph below, option for cleaning existing items to remain before reinstalling adds cost.  Revise to suit Project.

D. Existing Items to Remain:  Protect construction indicated to remain against damage and soiling during selective demolition.  When permitted by Architect, items may be removed to a suitable, protected storage location during selective demolition and cleaned and reinstalled in their original locations after selective demolition operations are complete.

3.4 SELECTIVE DEMOLITION PROCEDURES FOR SPECIFIC MATERIALS

This Article is an example only.  Revise to suit Project.

Select paragraph above or first paragraph below.  Below will provide neater openings with less risk of damage to remaining concrete, but may cost more.

A. Concrete:  Demolish in sections.  Cut concrete full depth at junctures with construction to remain and at regular intervals, using power-driven saw, then remove concrete between saw cuts.

B. Concrete Slabs-on-Grade:  Saw-cut perimeter of area to be demolished, then break up and remove.

Revise paragraph below to suit Project.

If needed, insert requirements for other materials, products, equipment, and services.

3.5 DISPOSAL OF DEMOLISHED MATERIALS

Add other specific disposal, cleanup, or removal requirements to suit Project.

A. General:  Except for items or materials indicated to be reused, salvaged, reinstalled, or otherwise indicated to remain Owner's property, remove demolished materials from Project site and legally dispose of them in an EPA-approved landfill.

1. Do not allow demolished materials to accumulate on-site.

2. Remove and transport debris in a manner that will prevent spillage on adjacent surfaces and areas.

Coordinate first subparagraph below with use of elevators, stairs, or building entries permitted by building manager.

3. Comply with requirements specified in Division 1 Section "Construction Waste Management."

B. Burning:  Do not burn demolished materials.

Delete paragraph above and retain paragraph below when disposal off Owner's property is required.  Add specific requirements for off-site disposal to suit Project.

C. Disposal:  Transport demolished materials off Owner's property and legally dispose of them.

3.6 CLEANING

A. Clean adjacent structures and improvements of dust, dirt, and debris caused by selective demolition operations.  Return adjacent areas to condition existing before selective demolition operations began.

Delete this Article if Drawings show all selective demolition notes and lists.

END OF DOCUMENT
SELECTIVE DEMOLITION

01732 - 1

