554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

December 2, 2014

Ms. Tara Ingram-Hunter

2055 Second Street

Slidell, LA 70458

Re:      	CDBG Phase V - 5000-21B Sidewalk

City of Slidell

Dear Tara,

Per our conversation this morning, please accept this letter as clarification that Dammon Engineering's contract amendment No. 3 covered additional design and oversight of additional work required under Change Order Nos. 1-3 from Natal.  This additional work included:

Provisions for the project sign

Installation of new sewer frame and cover to allow sidewalk to be poured on top of existing concrete sewer box at the correct thickness (location East side of Washington Ave. about 70' south of Tupelo Street.)

Repairing storm drain pipe by removing fill from around the pipe, inspecting, wrapping filter fabric around joint for added security, backfilling and compacting. (Location east side of Washington Ave, approx. 125' south of Tupelo Street.)

Saw cutting and demolition of mortar from around all four sides of two existing metal drain frames so the new sidewalk could be poured to it with the correct thickness/coverage required. (Location east side of Washington Ave, approx. 215' and 250' south of Tupelo Street.)

Cleaning and demolition of the overgrowth, trash and fill of the existing sidewalk.  Approx. 380 LF or 2,300 SF (Location - the entire west block from Tupelo Street to Campbell Street.)

Additional sand fill at areas where ground was saturated, abnormally low or where needed to elevate sidewalk to meet required height so water wouldn't sit on sidewalk.  Approx. 50' LF x 6' wide.  (Location - the east side of Washington Ave. at both corners of Campbell Street extended back approximately 25' each way).

Installation of C900 6" drain pipe under sidewalk at two locations to allow correct drainage flow (Location - the two corners of Washington Ave. and Campbell Street both on the east side of Washington Ave.)

Saw cutting and chipping out existing asphalt to allow the correct thickness/coverage of concrete where new sidewalk ties into the asphalt street in two locations. (Location - The east side Washington Ave. at both corners of Campbell Street and Washington Ave.)

Digging up and cleaning existing City of Slidell water valve cover, adding an extension pipe, concrete and reinstalling water valve cover.  (Location - east side of Washington Ave., approx. 20' north of Campbell Street.)

The entire sidewalk on the west side of Washington Ave. from Tupelo Street to Campbell Street and also the driveway apron and part of the existing driveway to the residential house closest to Tupelo Street, including:  Demo of existing sidewalk (1,412 s.f.); Removal of existing soil fill; Installation and compaction of new sand fill; Layout and forming of sidewalks; Pouring, placing and finish concrete; Installation of two truncated domes at each corner of Tupelo and Campbell Streets; Wrecking and back fill.

Yours Sincerely,

Chuck Dammon, VP

Project Manager

Dammon Engineering. Inc.