Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 2

City of Slidell						ENGINEER’S PROJECT NUMBER:  2204

CDBG Sidewalk Improvements

Phase V 5000-21B

Washington Ave.

Slidell, Louisiana

CONTRACT:  New Construction

DATE:  04/14/2014			TIME:  9:00 AM	WEATHER: Cloudy 	TEMP RANGE:  73°

EST % OF COMPLETION:  4%			CONFORMANCE WITH SCHEDULE (+/-):  On Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Forming sidewalks				Contractor/Employees

OBSERVATIONS:

Forming sidewalks on Washington Ave.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:  Unearthed sewer manhole and found washout near catch basin. Contractor is working up change order to correct these areas and will submit.

ATTACHMENTS: