Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 24

City of Slidell						ENGINEER’S PROJECT NUMBER:  2204

CDBG Sidewalk Improvements

Phase V 5000-21B

Washington Ave.

Slidell, Louisiana

CONTRACT:  New Construction

DATE:  05/19/2014			              TIME:  10:40 AM	WEATHER: Clear  TEMP RANGE:  77°

WORK IN PROGRESS:  				PRESENT AT SITE:

All sidewalks are poured.		                          Contractor/Employees

OBSERVATIONS:

Pulling up form boards and cleaning & regarding all areas along sidewalks. Will be complete today.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: