554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

June 28, 2018

1112 West 21st Avenue, LLC

4717 Woodland Avenue

Metairie, La. 70002

Re:

New Office for

St Tammany Parish Library

1112 W. 21st Ave. Covington LA 70448

To whom it may concern;

It was requested that we inspect the existing stairs and walls located at the referenced location and that we provide you with the following.

It is my professional opinion that the right side of the stairs and walls are structurally sufficient for the use of an AmeriGlide AC Cargo Lift that will be installed by the company. This AmeriGlide Cargo lift is rated for a maximum of 250 lbs capacity as per quote #11784.

Sincerely,

Brian A Mistich, P.E.

La. License No.  30187