ELECTRICAL LOADS OF AIR CONDITIONING EQUIPMENT

CHILLERS  460V/ 60 Hz/ 3 Ph.

ALL 70 TON NOMINAL CAPACITY

CARRIER- 30RB070



83.4 KW TOTAL

TRANE- RTAA-070



MCA (Min. Circuit Ampacity)- 133a/ Max. Fuse- 175a

YORK- YCAL0070EC



MCA- 153a/ Max. Fuse- 175a

McQUAY- AGZ070BS



MCA- 130a/ Max. Fuse- 150a

AIR HANDLERS  

NO DATA UNTIL WE DETERMINE THE CFM REQUIREMENTS OF EACH FLOOR AND AREA.

