ST. TAMMANY PARISH OFFICE BUILDING

HVAC EQUIPMENT

McQUAY OR EQUAL

WATER CHILLERS ON ROOF


McQUAY AIR COOLED CHILLERS (TWO) 


AGZ070BS 65.5 TON ARI RATED CAPACITY/  TWO CIRCUITS/ 5,000 LB 

AIR HANDLER IN MEZZANINE MACHINERY ROOM (AH-1)


McQUAY “VISION”/ HORZIONTAL CONFIGURATION/ SIZE 008

3,095 CFM TOTAL SHOWN/ 2,995 CFM ON DESIGN

AIR HANDLER IN 2nd FLOOR MECHANICAL ROOM  (AH-2)

McQUAY “VISION”/ VERTICAL CONFIGURATION/ SIZE 017

7,782 CFM TOTAL SHOWN/ 7,823 CFM ON DESIGN

AIR HANDLER IN 3rd FLOOR MECHANICAL ROOM (AH-3)

McQUAY “VISION”/ VERTICAL CONFIGURATION/ SIZE 017

 
7,851 CFM TOTAL SHOWN/ 7,823 CFM ON DESIGN

AIR HANDLER IN 4th FLOOR MECHANICAL ROOM (AH-4)

McQUAY “VISION”/ VERTICAL CONFIGURATION/ SIZE 017

7,745 CFM TOTAL SHOWN/ 7,823 CFM ON DESIGN

AIR HANDLER IN 5th FLOOR MECHANICAL ROOM (AH-5)

McQUAY “VISION”/ VERTICAL CONFIGURATION/ SIZE 017

7,820 CFM TOTAL SHOWN/ 7,823 CFM ON DESIGN 

AIR HANDLER IN 6th FLOOR MECHANICAL ROOM (AH-6)

McQUAY “VISION”/ VERTICAL CONFIGURATION/ SIZE 021

8,265 CFM TOTAL SHOWN/ 8,513 CFM ON DESIGN 

