ST. TAMMANY PARISH OFFICE BUILDING 

PROPOSED MECHANICAL &  ELECTRICAL

EQUIPMENT IN MEZZANINE MECHANICAL EQUIPMENT ROOMS:

HOT WATER BOILERS

ONE CLEAVER-BROOKS CLEARFIRE MCF-750 BOILER

750,000 BTU/Hr. NG INPUT/ 720,000 BTU/Hr. OUTPUT

1,444 LBS. OPERATING WEIGHT EACH

(OR EQUAL)

CIRCULATING PUMP  

MAIN ELECTRICAL POWER SUPPLY PANEL

SQUARE D QMB FUSIBLE PANELBOARDS, 800 AMP, 3 PHASE, 4 WIRE 480Y/277 VAC.

INVESYS CLIMATE CONTROL SYSTEM

FIRE PANEL

ALARM PANEL

TELEPHONE CONNECTION EQUIPMENT

ELECTRICAL FEED/ CIRCUIT BREAKER PANELS/ DISCONNECT SWITCHES

ELEVATORS

BACK (NORTH/WEST) (NEW) ELEVATOR IS THYSSONKRUPP (WAS DOVER ELEVATORS), DECAL SAYS “FACTORY SERVICE- 504-733-6141”

HAND WRITTEN NUMBER “985-264-0130”.  LOCAL THYSSONKRUPP OFFICE IS IN NEW ORLEANS (TEL: 504-733-6141). 

FRONT (SOUTH) ELEVATOR IS OTIS 

LOCAL OTIS OFFICE IS IN METAIRIE (TEL: 504-835-8452/ FAX: 837-0096)

[COURTNEY DORNELL CELL: 504-218-3820]

LOCAL ELEVATOR MAINTENANCE FOR ST. TAMMANY PARISH IS

NORTHSHORE ELEVATOR (KEVIN BARNES)

(TEL: 985-845-9428/ CELL: 985-966-2467)

