St. Tammany Parish Administrative Complex

Slidell, Louisiana

Addendum #2
Date:
June 29, 2007
To:
All Planholders:

Braithwaite Construction Co., LLC

ARC Mechanical Contractors, Inc.


Arrighi Simoneaux, LLC
Ladies and Gentlemen:

The following questions were brought up at the pre-bid conference:

1. Regarding elevator pit and mezzanine for 2 stop elevator being removed:
a. Remove any electrical outlets, make safe, fill pit with sand and compact.  Pour five inch concrete pad with 6 mil visq. and 6x6, 0/1 mesh, install #5 bars minimum 4 inches into existing and new concrete at 12 inches on center around opening.
b. At 2nd floor landing, construct wood floor at level of new door, over shaft opening of elevator.  Frame with 2x4 studs at 16 inches on center and 2x6 joists at 16 inches on center, with ¾” plywood deck.  Relocate steps from existing door to this platform.  Install 2x4 hand rail at open side of deck.

c. Relocate light switch to this door.

2. Regarding Fire Sprinkler System:

a. See Section 13930 of specification book.

3. Regarding sealing of 1st floor storage area:

a. See Drawing A-1.

4. Regarding 1st floor areas to be scored, stained and sealed:
a. Add room 108 and 111 shown on drawing A-1 finish schedule, to floors to be scored and stained concrete with sealer.  Total square footage of areas to be provided 3 inch concrete fill, scored, stained and sealed, is approximately 3,500 s.f.  All stained concrete areas shall have vinyl base.
b. Drains for toilets, floor drains, etc., shall be adapted to the new floor elevation, and new windows and doors in these areas shall fit the opening created by the new topping.

5. Regarding tiles in new and existing toilets:

See attached tile specification.
6. Regarding Metal Roof Alternate:

If metal roof alternate is not selected, existing roof drain line shall be re-routed from the present drain that is on the far east end of roof, to the north east corner pipe chase, relocate existing vertical pipe to pipe chase and back to existing underground pipe that runs to existing ditch.

7. Regarding removal of trees on the west side of the building:

Trees along the west side of property, trees in ditch and inside or on the property line shall be removed.  Trees that overhang the parking areas shall be trimmed to the property line.  Storm blown trash west of property lines and within five feet of the west property lines shall be removed.

8. Add a backer board to the parish emblem signs on the elevator head house.  Back board shall be minimum 5/8” exterior grade plywood seal exposed ends.
9. All painted or varnished interior and exterior surfaces shall as a minimum be cleaned, patched, sealed, refinished and varnished or painted.

10. Ceramic wall, floor and base tile for new toilets shall match style, and type of existing toilets, colors to be selected by engineer.  Patching of existing tiles shall match existing.

11. Add Specification 09310 – Ceramic Tile.

12. All existing trash, furniture, computers, stored items in the building and on grounds (except for those item specifically noted to be turned over to the owner) shall become the property of the contractor, for his disposal.

13. Remove all signs on building and in parking lot.

14. Repair down spouts in rear.
Acknowledge receipt of addendum(s) in your bid document.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
