DAMMON ENGINEERING, INC.
dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

St. Tammany Parish Administrative Complex

Slidell, Louisiana

Addendum #3
Date:
July 5, 2007
To:
All Planholders:

Braithwaite Construction Co., LLC

ARC Mechanical Contractors, Inc.


Arrighi Simoneaux, LLC


Kevin J. Smith Construction Co.


NATCO, Inc.

Dodge Reports Plan Room (New Orleans Office)


I-Square Foot Plan Room
Ladies and Gentlemen:

The following questions have been addressed in response to RFI’s received to date:

A.  The following all refer to the toilets and janitor’s closets on each floor.

1. Second Floor:

Dwg D-2 – Drinking fountain exists outside room 223.

Dwg A-2 – Janitor sink and water heater are new.

                   Drinking fountain existing.

                   Plumbing wall in men’s toilet is new.
Dwg P-2 – Wall in Men’s toilet is new.

      Drinking fountain is existing.
                   Janitor sink and water heater are new.
2. Third Floor:

Dwg D-3 – Remove toilet and lavatory in room 312.

                   Drinking water fountain to remain.
Dwg A-3 – Mop sink and water heater are new.
                   Drinking water fountain is existing.
                   Plumbing wall is new.

Dwg P-3 – Mop sink and water heater are new.
3. Fourth Floor:

Dwg D-4 – Shows toilet and lavatory in room 408.  These are to be removed.

                   Drinking fountain is existing.

Dwg A-4 – Janitors sink and water heater are new.

                   Drinking fountain is existing.

Dwg P-4 – Janitors sink and water heater are new.

4. Fifth Floor:

Dwg D-5 – Janitor sink and water fountain are existing and are to remain.
Dwg A-5 – Water heater is new.

Dwg P-5 – Water heater is new.

5. Sixth Floor:

Dwg A-6 – Janitor closet shows as being opened to main corridor.  Move closet north 

                   three feet to create a vestibule off the hall as on 5th floor.  Add a drinking 

                   fountain in vestibule.  Janitor sink and water heater are new.

Dwg P-6 – Relocate potable water and drain for drinking fountain.

                   Drinking fountain to match existing H.C. units on lower floors.

B.  West Elevator Lobby, ground floor:

a. Replace vertical stand pipe at each exterior stair so that new pipe run is inside new enclosed stair, with outlet at each floor.  Make new connections at each floor.

C. Repair existing downspouts that are to remain.

D. Inspection:

a. The Towers Building will be open for inspection the week of July 9th through July 13th, between the hours of 8:00 a.m. and 12:00 noon.  Much of the equipment has been removed.  Removal of trash, equipment etc., that is in the building during this inspection time, will become the property of the successful contractor.

Acknowledge receipt of addendum(s) in your bid document.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
