The anchor bolt location's were in question for the porte cochere', it was determined that the columns were to line up with edge of window frame's and not the center line of the double doors. It is still off a few inches to the west but the anchor bolts are installed per the dwg layout. It was determined that even though the anchor bolts are off the window edge a few inches to the west, that the aesthetics of it will be okay due to the large porte cochere and will blind in well.

