

1/29/2007

GLASS CURTAIN WALL AT SLIDELL TOWERS

ESTIMATE OF AREA OF GLASS REQUIRED

PERIMETER OF GLASS ON 2ND FLOOR:  


     275 FT.

PERIMETER OF GLASS ON 3RD THROUGH 6TH FLOOR:
     337 FT.

EACH FLOOR APPROXIMATELY 11 FT. HIGH,

THUS THE 2ND FLOOR WINDOWS ARE (275’ X 11’) OR
   3,028 SQ. FT.

AND THE 3RD THROUGH 6TH WINDOWS ARE (337’ X 44’) OR 14,828 SQ. FT.

THE TOTAL GLASS CURTAIN WALL AREA WILL BE

  17,856 SQ. FT.



1/29/2007

