	PRIVATE 
DESIGN COORDINATION AND REVIEW - COMMENTSPRIVATE 

NAVAL SPECIAL WARFARE COMMAND, SAN DIEGO, CA
	PROJECT MANAGER:

Terry Artrip, NAVFACSE

	COMMENTS BY:

Sam Martindale, P.E.
	CODE:

 N4412
	PHONE:

619-447-0772
	DATE:

03 APR. 2009

	PROJECT TITLE AND LOCATION:

MILCON P210, SOF RIVERINE & COMBATANT CRAFT OPS FACILITY (SBT-22) NASA STENNIS SPACE CENTER, MS
	TYPE OF REVIEW:  

Final Early Start Design Boat Store Bldg FND

  

	NO.
	DWG.NO.

or

SPEC.SECT.
	COMMENTS
	A-E RESPONSE

	1
	All Dwgs
	Vertical Title Block: Make the following changes/corrections-

Fill in First Initial – Last Name of the Designer, Draftsman (DRW), Reviewer (the Design QC Manager), and the PM (T. Artrip)

Fill in your Construction Contract Number.  
	Title block filled in.

Number filled in.

	2
	Dwg S2.1
	For Sections A and B: To be consistent, change the Compacted Fill note to read: “Compacted Fill, 12” Minimum  – Compacted to 95% per ASTM 1557.”
	Note has been corrected.

	3
	Dwg S2.1
	For Sections A and B:  the note indicating 4000 psi concrete does not match the specifications.
	Specification has been corrected.

	4
	Specs
	Section 03 31 00.00 10:  Paragraph 1.6.2.1 The compressive strength list for slab on grade does not match the call outs found on sheet S2.1. Please coordinate.
	Specification has been corrected.

	5
	
	
	

	6
	
	
	

	7
	
	
	

	8
	
	
	

	9
	
	
	

	10
	
	
	

	11
	
	
	

	12
	
	
	

	13
	
	
	

	14
	
	
	

	  15
	
	
	

	16
	
	
	

	17
	
	
	

	18
	
	
	

	19
	
	
	

	20
	
	
	

	21
	
	
	

	22
	
	
	

	23
	
	
	

	24
	
	
	

	25
	
	
	

	26
	
	
	

	27
	
	
	

	28
	
	
	

	29
	
	
	

	30
	
	
	

	31
	
	
	

	32
	
	
	

	33
	
	
	

	34
	
	
	

	35
	
	
	

	36
	
	
	


