554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

July 14, 2016

Julie Little

Office of the State Fire Marshal

8181 Independence Blvd.

Baton Rouge, La. 70806

Re:	Project Number: AR-16-010839

Dr. Eversgerd

1901 Highway 190

Suite 13

Mandeville, La. 70448

Dear Julie,

We are in receipt of your deficiency code review letter.  Please see the Mechanical, Plumbing and Electrical drawings that are uploaded.

Also per the 2012 International Plumbing code we find that only one male and one female bathroom is required per the sq. ft. and occupancy load of 20.53 persons. There is a general service sink for this entire building.

We have also uploaded the Commercial Building Energy Code for these disciplines.

Sincerely,

Chuck Dammon

VP/Project Manager