August 1, 2007

Mr. Gene Bates

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

8181 Independence Boulevard.

Baton Rouge, Louisiana 70806

RE: PO296428

       Juliet Hotel

       800 Jefferson St.

       Lafayette, la. 70501

Dear Mr. Bates

The local building inspector for Lafayette has asked that we get approval on the new location of the water heater and a/c system. The water heater and A/C system was located in the middle of the bldg. on the 2nd floor. It has been relocated to the southeast part of the bldg in the mechanical room on the 2nd floor. The original a/c design utilized a split dx system, the contractor has opted to use wall units (P-TAC and VP) and duct it out.

Please see the revised drawing showing the location of the water heater and also the cut sheets for the water heater. Also please see the cut sheets for the fire dampers that we are using for the return air.

Please call me with any question you may have.
Sincerely,

Chuck Dammon 

VP/Project Manager

