DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

     January 18, 2008
     City Of Biloxi Building Code Plan Review

     Biloxi Building Code Office

     676 Dr. Martin Luther King Blvd.

     Biloxi, MS. 

     Attn: Michael Hornbeck

     Ref: La Quinta Inn Suites

            Cedar Lake Road

            Biloxi, MS.

     Dear Mr. Hornbeck

 

The laundry chute is constructed of a one-hour enclosure and is fully sprinkled with all fusible links installed per the manufactures submittals. 

 

Please call me with any questions you may have.

     Thank you,

    Emmett Dammon

