
SECTION 15575PRIVATE 


BREACHING, CHIMNEYS, AND STACKS
PART 1  GENERAL

1.01
SUMMARY

   
A.
Provide manufactured chimneys for gas fired equipment;  install according to manufacturers instructions.

   
B.
Provide manufactured double wall chimneys for fuel fired equipment;  install according to manufacturers instructions.

1.02
DESIGN REQUIREMENTS

   
A.
Factory built vents and chimneys used for venting natural draft appliances shall comply with NFPA 211 and be UL listed and labeled.

1.03
REGULATORY REQUIREMENTS

   
A.
Conform to applicable ANSI Z223.1 code for installation of natural gas burning appliances and equipment.


END OF SECTION

La Quinta Inns, Inc.
15575 - 1
May 11, 2001

