LQ


SECTION 09910

PAINTING

PART 1 GENERAL

1.1 SUMMARY

A. Provide the following:

Painting and surface preparation for interior unfinished surfaces as scheduled.

1. Painting and surface preparation for exterior unfinished surfaces as scheduled.

2. Field-painting and surface preparation of exposed mechanical and electrical piping, conduit, ductwork, and equipment.

PART 2 PRODUCTS

2.1 MATERIALS

2.2 Manufacturers:  Sherwin Williams.  Contact Brian Patton (800) 321-8194.

A. Gypsum Drywall Walls:

Gloss:

a. Semi

2. System:

a. 1 coat latex primer.

b. 2 coats latex finish.

B. Gypsum Drywall Walls and Ceilings in Bathrooms, Prep Areas, and Wet Areas:

Gloss:

a. Semi

2. System:

a. 1 coat alkyd primer.

b. 2 coats alkyd finish

C. Gypsum Drywall Walls to Receive Wall Covering:

System:

a. 1 coat latex primer

D. Gypsum Drywall Ceilings:

Gloss:

a. Semi

2. System:

a. 1 coat latex primer

b. 2 coats latex finish

E. Wood for Painted Finish:

Gloss:

a. Semi

2. System:

a. 1 coat latex primer

b. 2 coats latex enamel

F. Exterior Wood for Painted Finish:

Gloss:

a. Semi

2. System:

a. 1 coat latex primer

b. 2 coats latex enamel

G. Ferrous Metals:

Gloss:

a. Semi

2. System:

a. 1 coat alkyd primer

b. 2 coats alkyd enamel

H. Galvanized Metal:

Gloss:

a. Semi

2. System:

a. 1 coat alkyd primer

b. 2 coats alkyd enamel

END OF SECTION


PAINTING


09910-2

