chuck

STRUCTURAL INSPECTION

Date:
November 9, 2005

Type:
Primary residence

RE:
Post-Hurricane Katrina Structural Inspection

Structure:
Wood frame on CMU block chain walls, composition roof shingle & vinyl siding

Owner(s): 
Joseph and Gerry Silbernagel








Property: 
141 Eden Isles Blvd.



Slidell, La 70458



985-640-7074

History:

Mr. & Mrs. Silbernagel contacted Dammon Engineering to perform a structural inspection on the referenced residence.  They are concerned about the foundation/structure of their home after hurricane Katrina‘s high winds and water.  They reported that the floor was sagging in and around the kitchen and stairwell.

Findings:

After a visual inspection of the home it was noted that there was damage to the entire roof, with damage also present where the carport joins to the house.  It was also noted that the columns that support the carport have warped.

The CMU blocks that are supporting the structure have been shifted and the mortar has cracked and is missing.  The Den and rear porch area of the home appeared to have shifted approximately 1 ¾” to the east.  Some of the CMU blocks have fallen down in these areas.  Also, the termite shields have come off the CMU blocks.  All the insulation under the house was ruined by the floodwaters and has been removed.  

The 2nd floor ceilings have cracks in the sheet rock at the front of the house in the bedrooms and above the attic door.  A level was used to find the difference in elevation of the first floor rooms.  A differential reading of the floor shows in the kitchen and stairwell area of -0.07” from the starting point and the dining room floor to be 1.3” higher.

Analysis:

1. Replacement of the roof and repairs to the supporting structure should be accomplished as soon as possible to prevent further damage caused by rain (see additional notes below).

2. The sheetrock that was damaged by water should be removed, along with the insulation surrounding the area (see additional notes below).

3. Repairs to the chain wall foundation, leveling of the floors and other repairs to the home should be accomplished as soon as possible to prevent further damage to the home. 

Conclusion:

The damage to the structure, including interior flooring and sheetrock, is a direct result of the floodwaters.  The damage to the roof, vinyl siding, doors and windows is a direct result of the high winds. The permissible wind load for the siding, windows and doors have been exceeded and these should all be replaced.  

It is my professional opinion that once repairs to the items listed above are accomplished, this dwelling will be structurally sound.

Additional Notes:

When work is being accomplished to rebuild the structure, fastenings and nail patterns should meet the new International Building Code requirements for that work.

Information homeowners should know about flood damaged walls and floors, or those damaged by water entry from rain, etc.

The wood stud walls will need to be dried out prior to covering with new wallboard.  In order to dry out the wood studs, one side of the wall will need to be removed and allow sufficient drying time to occur.  Mold remediation should occur as soon as possible.  The American Wood Council states that wood needs to dry out to less than 19% moisture content prior to enclosing wood studs, otherwise the structural integrity could be compromised and mold growth could occur.  Contractors should not re-install wallboard until the moisture content in the stud wall is below 19%.  Houses built using thicker wood products should expect longer dry out times.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


