STRUCTURAL INSPECTION

Date:
December 30, 2005

Type:
Residential

RE:
Post-Hurricane Katrina Structural Inspection

Structure:
Two story wood frame, concrete pilings, vinyl siding, and composition roof

Owner(s):
Mr. Frank Ferguson

Address:
54 Treasure Isle



Slidell, Louisiana 70461



504-329-9479

History:

Mr. Ferguson contacted Dammon Engineering to perform a structural inspection on the referenced residence.  He was concerned about the structural condition of his home after Hurricane Katrina.  The foundation (top of slab) is at a height of seven above sea level (elev. 7.0’) and the top of the concrete piers is eleven feet four inches above the foundation, and the living level floor is at elevation 19.5 +/-.

Findings:

A visual inspection of the residence revealed the following:

1. The front stairs are missing and the front porch wood decking is loose and uneven.

2. Vinyl siding was blown off in several locations on all sides around the home.

3. Eight of the concrete columns are broken on the lakeside (Westside) of the home.

4. Two additional columns appear to be leaning.

5. A Sea Land trailer crashed into the northwest corner of the home.

6. Floor beams and joist on the rear of the home were substantially bowed to the front of the home.

7. The rear stairs are missing.

8. Beams that sit on top of concrete columns have shifted from their seats.

9. Floor joists were loosened and the floors along the lakeside (west side) of the home collapsed.

10. The south wall is bowed.

11. The rear porch floor along the entire length of the house is missing.

12. Windows on the west side of the home were blown in.

13. There are cracks and missing sheetrock in the upper floors.

14. Plumbing and electrical services on the ground floor were destroyed.

15. The entire building appears to be leaning to the east.

16. A refrigerator/trailer hit the north west corner of the lake side of the house, causing serious damage to that corner and lodging itself into the framing, breaking columns and beam in doing so.

Nearby Property – 

1. Several dwellings around the Fergusons’ property are no longer standing.  Even though many nearby homes had their main floors at or above the flood level, they were ravaged above the flood level or are totally missing.

2. Out of approximately 55 homes on Treasure Isle that were existing prior to the storm, only ten or so remain, and perhaps only a couple of these are worth rebuilding.

3. Many other of these homes had their main living floor at or above sixteen ft. NGVD, and as such, this part of their homes that was built on columns, was above the water level of the flood.  Another 15 or so homes had their first living area at approximately 7’ elevation.

4. Lakeshore Estates, just northwest of Treasure Isle, suffered flooding, but their homes were not destroyed.  Another subdivision, Rigolets estates, to the south and east, was also generally spared.

5. One homeowner from Treasure Isle reported that when he first arrived after the storm, the roof of his house was seen floating in Lake Pontchartrain, indicative of tornadic winds blowing these structures into the lake, before most of the debris was washed in shore several miles.

Analysis:

Hurricane force winds ripped the Rigolets/Treasure Isle area before dawn on Monday, August 29, 2005, prior to the flood that ensued after daylight.  The western part of the eye of the hurricane passed over the Rigolets and Treasure Isle probably between 9:00 a.m. and noon.  These winds out of the east and northeast were gusting and causing roofs and whole houses to shutter under relentless wind pressures of from 30 psf to 45 psf, during the pre-dawn and early morning hours.  These gusting wind speed caused variable wind pressures that were capable of shaking and dismantling the house, long before flooding arrived, the flood peaking between 10:00 a.m and noon on Monday, according to an eyewitness in Rigolets Estates, approximately ¼ mile away.  Wind direction during this period was first out of the east and northeast prior to the eye passing and then the northwest, west-northwest, and west following the eye passing.

Winds on Lake Pontchartrain are confirmed by the Louisiana State Office of Climatology to have reached 130 mph with gusts well over that speed.  With this, variable forces over 20,000 lbs. acted on the walls, windows, doors, etc., having the capability of shaking the building apart.

Surge waters from Hurricane Katrina had reached the shallow marshes and Lake Borgne long before reaching this area, and surges that were seen along the Mississippi Coast did not happen here, as they had been dampened by traveling across long stretches of these shallow areas, and were being dampened and blown to New Orleans and Chalmette by the winds out of the northeast.

The homes on the peninsula that were single story, faired the same as the two and three story buildings, and many of the taller buildings had columns and breakaway walls to guard against water surge.  There is only one answer – the wind did the damage, and the water carried off the remnants.

Reports from people who rode out the hurricane in Rigolets Estates, Fort Pike, Irish Bayou, Lakeview Drive, Carr Drive and on Bayou Liberty, all attest to the fact that there was no great surge or wall of water that would have pushed over buildings, but instead a fast rising tide in all these locations, that followed the relentless wind.  These people also reported that the flood water did not reach 16 feet above sea level, and that they saw roofs and other parts of buildings, boat houses, etc., fly by them in their respective locations.

Conclusion:

It is my professional opinion that this house was wrecked and moved by punishing winds that worked on the walls, roof, windows, and doors that were not constructed for standing up to the high winds.  The loss was caused by the forces of the winds, prior to the maximum flood water moving in.

When the higher flood waters came, they moved the remnants far inland, where most of the identifiable objects from Treasure Isle were found in the vicinity of Apple Pie Ridge, approximately three miles northeast of Treasure Isle.

Eyewitnesses:

1.
Mr. Leonard Brown – Rigolets Estates


Marlin Drive @ Moray Drive

Rigolets Estates

Slidell, Louisiana

2. Joe Perez

(Volunteer Fire Department)

St. Nicholas Church

Lake Catherine Hwy 90

New Orleans, Louisiana

3.
Kennard Jackley (video)


265 Carr Drive


Slidell, Louisiana

4.
Emmett G. (Pete) Dammon


34487 Torregano Rd. (Bayou Liberty)


Slidell, Louisiana

5.
Jimmy Ray Lemoine


Irish Bayou


New Orleans, Louisiana

6.
Grant Geiger


Carr Drive


Slidell, Louisiana

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Attachments:
1.  Maps of affected areas west of center



2.  Hurricane Katrina/Lake Pontchartrain Synopsis


[image: image2.jpg]< MAPQUEST. = !

Wit Kifchen

CAR & j 9Nerlh Shore

KNE . g
& LA i&?h‘d‘.’ﬂf Howze Basch Fritchie Marsh
{w) R o
A@‘; 4 =alt Bayoy
LAKE
ORE~
éa%mr%i
"{ﬁ:—mu@ej
15185
Rieorets
E. ﬁ'{ P\‘E@‘g C_Hkl Fort
© 2005 MapQuest.cam, Inz, D205 NAYTER
Smi
_Samnt Tammany Corner Santa Resa Gﬁ
ht Kiln
_Bamnt Tammany Hickogy @
Maude vl River @a
Mﬂ _Gamesville
Amas Riwer %

(23}
~ '.v_> J‘
< No 0o 7""_‘WSV§ g
Bnnl:? (‘ansldc Park
Lakeshara
< G ;
TORR e, / Ansley
’ 2ol Hasksan Landing

o
sntehartrain B
CARR, vn.\\;;j/

{ﬁ

& 2005 MapQuest.com, Ing ; & 2005 Tele Atlas





This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


[image: image1]