554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

# Manufactured Home Inspection

February 16, 2015

Buyer:		Christine R. Mclendon

1139 Spring Hill Rd.

Poplarville, Ms. 39470

RE:	Manufactured Home – FHA Requirements

- The foundation system is adequate for the soil conditions of the site as per HUD Handbook 7584, attachment B.

- Tie downs are tied to screw anchors in the ground and meet the HUD/FHA requirement as installed by manufacturer.

- Wheels and axles have been removed.

- The tongue and trailer hitch have been removed.

- The unit is permanently connected to the water and waste system.

- Per HUD/FHA requirements, the crawlspace is enclosed with skirting with ventilation and access panels.

- I certify that the foundation meets the requirements of FHA.

- I certify that the foundation meets the requirements of the manufactured housing industry specification for foundations, HUD Handbook 7584, dated September 1996.

- All handrails were found to be structurally sound, meeting the requirements for R311.5.3 Stairs and Treads of the IRC and R311.5.6.

- The HUD Data Plate meets compliance requirements.

- The mobile home does not appear to have ever been moved.

Sincerely,

Brian A Mistich, P.E.

M.S. #20971

Bill Kingsmill’s contact information is as follows:

William Kingsmill (kingsmillprop@bellsouth.net)

Cell: (504) 528 3838

1200 Business Highway 190, Suite 13

Covington, LA 70433

Lawrence Wm. Haik, Sr

Republic Commercial Properties, LLC

1539 Royal Palm Dr.

Slidell, LA 70458

(985) 960-7033