554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

June 13, 2019

Mr. Mike Metcalf

Plaquemines Parish Department of Permits

Port Sulphur, La.  70083

Re:

Permit # 2019-214

Mr. Danny Rousselle

1104 Epsilon St

Belle Chasse, La. 70037

Dear Mr. Metcalf,

Mr. Rousselle requested that I inspect the pool and home foundation located at the referenced location. The new pool is approximately 4’ from the home foundation. He requested that I provide you with the following affidavit.

It is my professional opinion that the pool and home foundation was designed and constructed to meet the requirements of the 2015 IRC, and is structurally sufficient for the use intended

The inspection was performed by me and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundations are erected according to provisions of Chapter 4 of the International Residential Code, 2015 residential edition.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187