554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

# Foundation Inspection

February 12, 2016

For: 	Karla D Stelly

193 Maverick Run

Pearl River, La 70452

Ref:     28071 Pine Cone Rd.

Abita Springs, LA 70420

Construction:

Two-story, wood frame with vinyl veneer, composition shingle roof on a conventional foundation, approximately 10 years old.

Scope:

This inspection is limited to a visual inspection of the foundation of the home. No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

This is an existing home that was never completed. The owner requested that Dammon Engineering  evaluate the foundation to meet loan requirements that HUD has imposed.

Findings:

The exterior of the foundation was visually inspected and no cracks were noted.  No cracks were visible during a walk-through of the interior of the home.  Overall visual inspection of the foundation/floor revealed no visible cracks.

Conclusion:

It is my professional opinion that the foundation is structurally sound and is suitable for future residential construction.

Brian A Mistich, P.E.