554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

November 28, 2016

Mr. Joe France

Building Safety Permits

P.O. Box 828

Slidell, La. 70459

Re:

Elizabeth M. Peppo

342 Maple Leaf Drive

Slidell, La. 70458

Dear Mr. France

Elizabeth Peppo requested that Dammon Engineering inspect the front concrete porch foundation located at the referenced location. Elizabeth Peppo has documentation and records indicating the types of materials used in the construction of the concrete porch.  She requested that I provide you with the following affidavit.

It is my professional opinion that the concrete porch foundation was designed and constructed to meet the requirements of the 2012 IRC, and is structurally sufficient for the use intended of a covered front porch.

This report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Code, 2012 Residential edition.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187