554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net

# Structural Inspection

March 1, 2013

For: 	Joyce Walker

431 Country Club Blvd.

Slidell, LA 70458

Construction:

Single-story, wood frame with brick veneer and composition shingle roof on a conventional foundation

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Brenda Scofield with Abek Real Estate contacted Dammon Engineering requesting a structural inspection of the referenced home due to cracks in the foundation and brick veneer.

Findings:

The concrete front porch was noted to have a crack in it from in the edge of it to the home itself. There are several small cracks on the exterior of the brick home located in the mortar joints. Most were noted around windows and where an addition appeared to have been added to the right rear of the home. Other hairline cracks and minor stress cracks were found in the foundation but without separation.  The exterior foundation, above grade, at the ends of the crack, displays surface cracks in the concrete beam from the top of the beam to ground level; the grade beam could not be inspected below the surface of the ground.

The addition of a bedroom in the rear of the home was noted to have a slight hump in the middle of the room but the source of the bump could not be identified, as carpet is installed.

The bedrooms of the home were also noted to have hairline cracks in the sheet rock walls near the windows, walls and ceilings. There are approximately three ceramic tiles in the kitchen that were noted have hair line cracks.

Several shrubs with extensive root systems were noted around the perimeter of the foundation.

Analysis:

There are several circumstances adversely affecting this foundation.

There appear to be low areas in the ground near the foundation at the rear of the home.  These low areas trap rain water and prevent it from draining away from the foundation.

Structures typically show signs of settlement in the sheetrock at the heads of doorframes and windows; and mortar joints; this is due to the fact that these areas offer minimal structural support.

Conclusion:

House foundations all settle.  Usually everything settles together, and the fastest rate of settlement occurs in the first year after construction.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, expansion & contraction, tree roots, improper drainage, etc.

The cracks in the slab do not appear to have compromised the structural integrity of the home.  It is my opinion that the structural integrity of this slab is currently sound but will expand and contract with the ground movement and any additional standing water.

Any tree with a root system that approaches the slab should be removed to prevent any foundation damage.  A concrete contractor should be hired to repair the crack in the slab and re-point the mortar; the crack in the slab should be sealed with a non-shrinking grout, to prevent insects from entering the home.

The yard should also be re-graded to allow for proper drainage of rainwater away from the foundation.

Sincerely,

Emmett G. (Pete) Dammon, P.E.