DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

DATE

STRUCTURAL CERTIFICATION

For:
OWNER

Location:
6613 Alisa Dr.



Slidell, La 70460

To Whom It May Concern:

Building Description:  wood frame, concrete foundation, shingle roof, vinyl siding on three sides and brick veneer on one side.

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation. No inspection of the mechanical or electrical systems was performed.

History:

Mr. Luttrell contacted Dammon Engineering to perform a structural inspection on the referenced commercial property.  Mr. Luttrell stated that water did enter the building to an approximate height of four feet during Hurricane Katrina.  The building is approximately thirty years old.

Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the home.

1. Number of levels




One

2. Interior gutted




Yes

3. Debris cleaned




Yes

4. Floor framing




Yes

5. Roof framing 




Yes

6. Wall framing 




Yes

7. Any rot or termite damage


No

8. Is structure elevated



No

9. Structural distress or structural damage

Yes

10. Failure or deterioration of the foundation 
Yes

11. Exterior siding 




Yes

Analysis:

Conclusion:

I certify the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796
