DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Monday, June 04, 2007

STRUCTURAL INSPECTION

For:
Eric Griswald

Location:
313 Robin hood Lane

                         King Forest

                         Covington, LA 

Construction:
Single residence, approximately 1,700 SqFt total area

Wood frame on a conventional concrete foundation, brick veneer, and composition shingle roof

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the residence. No inspection of the mechanical or electrical systems was performed. This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys. This report is not an explanation of cause, effect or engineering.

History:

Mr. Griswald contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of obtaining insurance

Findings:

This inspection covered visible components (foundation, wall and roof and framing). 


Description



Problem areas
1. Number of levels




One

2. Interior gutted




No

3. Debris cleaned




Yes

4. Floor framing




Not applicable

5. Roof framing 




OK

6. Wall framing 




OK

7. Any rot or termite damage


No

8. Is structure elevated



No

9. Structural distress or structural damage

No 

10. Failure or deterioration of the foundation 
No

Analysis:
There was a carpet fire in this residence probably caused by vandals..  There is roof damage that occurred when a tree fell on the residence during Hurricane Katrina.. Walls and ceilings have some smoke damaged primarly in the living room area. of the building.  

Opinion:

If this residence is to be restored it will be necessary to: (1) Check the rafters and repair 

            if damaged.  (2)  Remove and replace any damaged sheetrock. (3) Inspect electrical 

            wiring (4) Remove and replace all kitchen cabinets and appliances. 

There is a reasonable presumption of “ structural soundness” of the original design, which was constructed using accepted, conventional materials and methods. It is my professional opinion that the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License 8796

