554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

December 3, 2018

For: 	Bruce Clement

2228 2nd st

Slidell La. 70458

Construction:

Single-story, wood frame, vinyl veneer, composition shingle roof on a piling and beam foundation. The building is approximately 15 years old.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the referenced building due an inspection that noted active termites under the building.

Findings:

This building has a crawl space that allows for access under the building for inspection. It was noted in a couple of areas that termites were active at one time and has since been treated.  All the affected areas appear to be structurally sound and this includes the pilings, beams and floor decking.

Recommendation:

It is my opinion that the structural integrity of this building is currently sound. It is recommended that fill be brought in under the building to keep it dry, also the yard should be graded to allow for proper drainage of rainwater away from the foundation and out to the street.

Sincerely,

Brian Mistich, P.E.