554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

February 14, 2018

For: Terrian and Toni Mobley

175 Lighthouse Point

Slidell, La. 70458

Ref:   3268 College Street

Slidell, La. 70458

Construction:

One-story, wood frame, brick veneer, ceramic flooring with a composition shingle roof on a conventional foundation.

History:

Dammon Engineering was contacted for a structural inspection of the referenced home due to an appraisal that noted the ceiling in the living room was damaged and hanging down. This inspection is limited to the living/dining room ceiling of the home.

Findings:

Upon inspection, the ceiling is visibly hanging down where once there was a load bearing wall separating the living room from the dining room.  It was removed at some point in time to create an open feeling between the two..

Conclusion:

This home is structurally sound and capable of being rebuilt. It is recommended to install a new 2x4 load bearing wall. There are two options for this new wall, one with a cased opening or a full wall to support the ceiling.

Sincerely,

Brian Mistich, P.E.