554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

December 15, 2021

Jerome Winder II

627 Brakefield St.

Slidell, La. 70458

Construction:

One-story, wood frame, wood veneer, on a pier and beam foundation with a metal roof.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the foundation of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the referenced homes foundation.

Conclusion:

An overall visual inspection of the pier and beam foundation was conducted and find it to be in satisfactory condition for any renovations with no modifications needed to the foundation.

Sincerely,

Brian Mistich, P.E.