DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

March 3, 2010

To: 
David Rimmer


Rotolo Consultants, Inc.


894 Robert Blvd.


Slidell, La. 70458 

REF: Southern Yacht Club Pool 


New Orleans, La.

Dear Mr. Rimmer,

I have reviewed Lafarge concrete mixes #113 & #136, and approve of their general configuration, using a 4,000-psi design mix.

Sincerely,

Emmett G. Dammon PE

Dammon Engineering

