## Fire Protection
Subcontractor's Scope of Work
14074 - Springs at Fremaux Town Center
Fire Protection
Contact:
Phone:
Email/Fax:
Item | Description | Company Name | Company Name | Company Name
Please indicate 'Yes', 'No', 'N/A', or 'See Adjustment' in the appropriate blank.
1 | What is the date of the proposal?
2 | Proposal is per the construction drawings dated - 07/07/2014?
3 | Proposal is per the project specifications dated - xx/xx/xx? | N/A | N/A | N/A
4 | Include the correct number of units - 296?
5 | Include the correct number of Building Type B20 - 10?
6 | Include the correct number of Building Type G24 - 4?
7 | Include the Clubhouse? | N/A | N/A | N/A
8 | Include the correct number of Garage Type 6G - 1? | N/A | N/A | N/A
9 | Include the correct number of Garage Type 12G - 1? | N/A | N/A | N/A
10 | Include the correct number of mail kiosks - 1? | N/A | N/A | N/A
11 | Include the correct number of maintenance buildings - 1? | N/A | N/A | N/A
12 | Include the correct number of trash enclosures - 1? | N/A | N/A | N/A
13 | Include the correct number of recycling centers - 1? | N/A | N/A | N/A
14 | Include shop drawings and/or submittals as required?
15 | Include mockup? | N/A | N/A | N/A
16 | Include all necessary material, labor, and equipment?
17 | Include layout for your scope of work?
18 | Include daily cleanup for your scope of work (dumpsters provided by GC)?
19 | Include all necessary equipment such as pumps, lifts, cranes, scaffolding, etc. for your scope of work?
20 | Include Davis Bacon wages and certified payroll (required for HUD projects)? | N/A | N/A | N/A
21 | Are currently licensed in state where project occurs?
22 | Have you included a $3 million combined general liability and excess liability insurance policy (each occurrence plus excess liability)?
23 | Include sales tax at specified rate - 8.75%?
24 | Material prices are good through the duration of the project without escalation? Start date is 10/02/2014
25 | Has your company completed a Doster prequalification form within the last 6 months?
26 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 01, issued 7/23/2014 on the Isqft website ?
27 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 02, issued 7/25/2014 on the Isqft website ?
28 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 03, issued 7/28/2014 on the Isqft website ?
29 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 04, issued 7/29/2014 on the Isqft website ?
30 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 05, issued 7/30/2014 on the Isqft website ?
31 | What is your bond rate?
Fire Sprinkler
1 | Include the fire protection system as specified - NFPA 13R?
2 | Include any applicable permits?
3 | Proposal is based upon subcontractor's own design?
4 | Include layout of system?
5 | Include flow test reports?
6 | Include certificates?
7 | Include recessed heads at interior locations?
8 | Include dry heads at exterior locations?
9 | Include upright heads at areas without ceilings (if applicable)?
10 | Pipe material consists of CPVC where specified?
11 | Pipe material consists of Schedule 40 black steel where required?
12 | Pipe material consists of Schedule 10 black steel at minimum where required?
13 | Include sprinkling of the unit balconies/patios?
14 | Include sprinkling of interstitial space? | N/A | N/A | N/A
15 | Include sprinkling of attics? | N/A | N/A | N/A
16 | Include fire pumps?
17 | Includes backflow preventers where specified?
18 | Include stand pipes w/ fire hose connections?
19 | Include Fire Risers as per indicated on 6/P6.02?
20 | Include fire department connections at the buildings?
21 | Include independent fire department connections?
22 | Include flow switches and tamper switches?
23 | Include alarm bell?
24 | Include double detector check backflow preventer for each building?
25 | System starts 1'-0" AFF (inside building)?
26 | Include heat tape/freeze protection in unconditioned spaces?
27 | Include vibration and seismic control?
28 | Include fire stopping all of penetrations?
29 | Include warranty of one (1) year?
30 | Exclude fire sprinkler system in Clubhouse, Maintenance Building and Garages?
Bid Form Breakout
1 | Clubhouse
2 | Building Type B20 (Total for Buildings 1, 3, 4, 7, 8, 10, 11, 12, 13, 14)
3 | Building Type G24 (Total for Buildings 2, 5, 6, 9)
4 | Maintenance Building, Carwash, Trash/Recycle Enclosure, Mail Kiosk
5 | 6-Bay Garage (Building 16)
6 | 12-Bay Garage (Building 17)
7 | Site
| Base Bid | 0 | 0 | 0
Item | Adjustments
1
2
3
| Revised Bid | 0 | 0 | 0
Alternates
1 | Provide knox box material and installation per each
2
3
1 | Yes
2 | No
3 | N/A
4 | See Adjustment