## HVAC
Subcontractor's Scope of Work
14074 - Springs at Fremaux Town Center
HVAC
Contact:
Phone:
Email/Fax:
Item | Description | Company Name | Company Name | Company Name
Please indicate 'Yes', 'No', 'N/A', or 'See Adjustment' in the appropriate blank.
1 | What is the date of the proposal?
2 | Proposal is per the construction drawings dated - 07/07/2014?
3 | Proposal is per the project specifications dated - xx/xx/xx? | N/A | N/A | N/A
4 | Include the correct number of units - 296?
5 | Include the correct number of Building Type B20 - 10?
6 | Include the correct number of Building Type G24 - 4?
7 | Include the Clubhouse?
8 | Include the correct number of Garage Type 6G - 1? | N/A | N/A | N/A
9 | Include the correct number of Garage Type 12G - 1? | N/A | N/A | N/A
10 | Include the correct number of mail kiosks - 1? | N/A | N/A | N/A
11 | Include the correct number of maintenance buildings - 1?
12 | Include the correct number of trash enclosures - 1? | N/A | N/A | N/A
13 | Include the correct number of recycle enclosures- 1? | N/A | N/A | N/A
14 | Include shop drawings and/or submittals as required?
15 | Include mockup?
16 | Include all necessary material, labor, and equipment?
17 | Include layout for your scope of work?
18 | Include daily cleanup for your scope of work (dumpsters provided by GC)?
19 | Include all necessary equipment such as pumps, lifts, cranes, scaffolding, etc. for your scope of work?
20 | Include Davis Bacon wages and certified payroll (required for HUD projects)?
21 | Are currently licensed in state where project occurs?
22 | Have you included a $3 million combined general liability and excess liability insurance policy (each occurrence plus excess liability)?
23 | Include sales tax at specified rate -8.75%?
24 | Material prices are good through the duration of the project without escalation? Start date is 10/02/2014
25 | Has your company completed a Doster prequalification form within the last 6 months?
26 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 01, issued 7/23/2014 on the Isqft website ?
27 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 02, issued 7/25/2014 on the Isqft website ?
28 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 03, issued 7/28/2014 on the Isqft website ?
29 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 04, issued 7/29/2014 on the Isqft website ?
30 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 05, issued 7/30/2014 on the Isqft website ?
31 | What is your bond rate?
HVAC
1 | Include HVAC ductwork per the intent of the drawings?
2 | Include HVAC ductwork material as specified - fiberglass duct board and flex duct?
3 | Include mechanical specs per sheet M0.01?
4 | Include warranties on equipment as specified?
5 | Include Unit General Mechanical Notes on sheet M0.02?
6 | Include Building General Mechanical Notes on sheet M0.02?
7 | Include EBB-1 at unit stair locations as indicated?
8 | Include EBB-2 at riser rooms as indicated?
9 | Include Clubhouse HVAC system per plans - sheet M1.C.11?
10 | Include all equipment as indicated?
11 | Include A/C plan general notes?
12 | Include A/C plan code notes?
13 | Include HVAC at maintenance building per plans - sheet M1.G.11?
Include EBB-3 at Pool Equip. Storage Room as indicated?
14 | Include 18x12 louver as specified with barometric relief damper at Maintenance Building?
15 | Include PTAC-1 as indicated at Maintenance Building?
16 | Include EF-2 as indicated at Maintenance Building (addendum)?
17 | Include HVAC system for units per plans - sheets M4.1DC-M4.SO?
18 | Include all A/C plan general notes?
19 | Include routing condensate to hub drain in mechanical closets?
20 | Include dryer venting as specified - see 1/M6.02?
21 | Include all dryer exhaust notes?
22 | Exclude dryer booster fans?
23 | Include Goodman CU and AHU equipment as specified for units?
24 | Include 13 SEER equipment as specified?
25 | Include thermostat as specified - 7 day programmable?
26 | Include bath exhaust fans as specified?
27 | Include bath venting as specified - see 2/M6.02?
28 | Include EF-1 for units as specified - Nutone?
29 | Include EF-2 for maintenance restroom as specified - Greenheck?
30 | Include EF-3 for maintenance area as specified - Greenheck?
31 | Include EBB-1 and EBB-2 as specified - Berco?
32 | Include PTAC-1 as specified - Amana?
33 | Include WC-1 and WC-2 for units as specified - Seiho?
34 | Include paintable bath/dryer exterior wall caps?
35 | Include grilles and diffusers for units as specified - Metal Aire?
36 | Include mechanical details for units indicated on sheet M6.02?
37 | Include Lennox equipment as specified for Clubhouse (Revise to electric per Addm 002 issued 7/16/2014)?
38 | Include 13 SEER equipment as specified?
39 | Include ventilation intake roof hoods as specified - Greenheck?
40 | Include EBB-3 and EBB-4 as specified - Berco?
41 | Include EF-4-EF-7 as specified - Air King?
42 | Include EF-8 as specified - Greenheck?
43 | Include grilles and diffusers for Clubhouse as specified - Krueger?
44 | Include automatic dampers as specified - Greenheck?
45 | Include mechanical details for Clubhouse indicated on sheet M6.04?
46 | Include fire collars at furnace exhaust per 8/M6.04?
47 | Include all low voltage wiring as required?
48 | Include testing and balancing?
49 | Include field balancing of air flow?
50 | Include fire-stopping of all rated penetrations?
Bid Form Breakout
1 | Clubhouse
2 | Building Type B20 (Total for Buildings 1, 3, 4, 7, 8, 10, 11, 12, 13, 14)
3 | Building Type G24 (Total for Buildings 2, 5, 6, 9)
4 | Maintenance Building, Carwash, Trash/Recycle Enclosure, Mail Kiosk
5 | 6-Bay Garage (Building 16)
6 | 12-Bay Garage (Building 17)
7 | Site
| Base Bid | 0 | 0 | 0
Item | Adjustments
1 | Exclude gas supply line and fixtures at Clubhouse per Addendum 002 issued 7/16/2014?
2
3
| Revised Bid | 0 | 0 | 0
Alternates
1 | Provide 14 SEER equipment
1a. | Clubhouse Alternate
1b. | Building Type B20 Alternate
1c. | Building Type G24 Alternate
1d. | Maintenance Building Alternate
2 | Provide Concrete condenser pads
2a. | Clubhouse Alternate
2b. | Building Type B20 Alternate
2c. | Building Type G24 Alternate
2d. | Maintenance Building Alternate
3
4
1 | Yes
2 | No
3 | N/A
4 | See Adjustment