## Plumbing
Subcontractor's Scope of Work
14074 - Springs at Fremaux Town Center
Plumbing
Contact:
Phone:
Email/Fax:
Item | Description | Company Name | Company Name | Company Name
Please indicate 'Yes', 'No', 'N/A', or 'See Adjustment' in the appropriate blank.
1 | What is the date of the proposal?
2 | Proposal is per the construction drawings dated - 07/07/2014?
3 | Proposal is per the project specifications dated - xx/xx/xx? | N/A | N/A | N/A
4 | Include the correct number of units - 296?
5 | Include the correct number of Building Type B20 - 10?
6 | Include the correct number of Building Type G24 - 4?
7 | Include the Clubhouse?
8 | Include the correct number of Garage Type 6G - 1? | N/A | N/A | N/A
9 | Include the correct number of Garage Type 12G - 1? | N/A | N/A | N/A
10 | Include the correct number of mail kiosks - 1? | N/A | N/A | N/A
11 | Include the correct number of maintenance buildings - 1?
12 | Include the correct number of trash enclosures - 1?
13 | Include the correct number of recycle enclosures- 1?
14 | Include shop drawings and/or submittals as required?
15 | Include mockup?
16 | Include all necessary material, labor, and equipment?
17 | Include layout for your scope of work?
18 | Include daily cleanup for your scope of work (dumpsters provided by GC)?
19 | Include all necessary equipment such as pumps, lifts, cranes, scaffolding, etc. for your scope of work?
20 | Include Davis Bacon wages and certified payroll (required for HUD projects)? | N/A | N/A | N/A
21 | Are currently licensed in state where project occurs?
22 | Have you included a $3 million combined general liability and excess liability insurance policy (each occurrence plus excess liability)?
23 | Include sales tax at specified rate -8.75%?
24 | Material prices are good through the duration of the project without escalation? Start date is 10/02/2014
25 | Has your company completed a Doster prequalification form within the last 6 months?
26 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 01, issued 7/23/2014 on the Isqft website ?
27 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 02, issued 7/25/2014 on the Isqft website ?
28 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 03, issued 7/28/2014 on the Isqft website ?
29 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 04, issued 7/29/2014 on the Isqft website ?
30 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 05, issued 7/30/2014 on the Isqft website ?
31 | What is your bond rate?
Plumbing
1 | Include the piping per the intent of the riser diagrams and plans?
2 | Include all sanitary piping, water piping, washer boxes, cleanouts, in accordance with the City of Slidell, Louisiana Plumbing Code? (Refer to Exhibit C)
3 | Include valves in accordance with the City of Slidell, Louisiana Plumbing Code? (Refer to Exhibit C)
4 | Include swing joints on all supply branches as indicated?
5 | Include 120 gallon propane tank at Clubhouse? Refer to Addendum 002 issued 7/16/2014
6 | Include insulation of hot water lines that are longer than 20'-0" from the electric water heater with R-4 sleeve insulation?
7 | Include insulation of all piping in exterior walls? | N/A | N/A | N/A
8 | Include insulation of all piping run above garage ceilings?
9 | Include plumbing to 5'-0" outside the building?
10 | Include backflow preventers on domestic water lines at each building?
11 | Include pressure reducing valves?
12 | Include compaction of utility trenches?
13 | Include Clubhouse plumbing fixtures per 'Exhibit D'?
14 | Include unit plumbing fixtures per 'Exhibit D'?
15 | Include maintenance building plumbing fixtures (to include mop sink) per the 'Plumbing Fixture Schedule' Sheet P1.G.11 (Addm 010 issued 7/23/2014)?
16 | Include HC plumbing fixtures?
17 | Include plumbing fittings per the 'Plumbing Fitting Schedule'? Sheet P6.01
18 | Include electric water heater at apartment units per the 'Electric Water Heater Schedule'? Sheet P6.01
19 | Include energy saving water heater timers as indicated?
20 | Include hot water circulation pump where indicated as specified per the 'Hot Water Circulation Pump' Schedule? Sheet P6.01
21 | Include bronze fittings for hot water circulation pump?
22 | Include aqua stat and adjustable time clock controllers on hot water circulation pumps?
23 | Include water heater at maintenance building as specified? P1.G.11
24 | Include mounting water heater on wall at maintenance building?
25 | Include galvanized safety pan at water heater?
26 | Include thermal expansion valves and/or tanks?
27 | Include fire/smoke rated materials for all materials located in plenum return?
28 | Include water hammer arrestors as specified?
29 | Include vacuum relief valve?
30 | Include hub drain with trap primer for water heater condensate drain line? 3/P6.02
31 | Include access panel for hub drain as indicated? 3/P6.02
32 | Include plastic box for icemaker valve?
33 | Include connection for icemaker?
34 | Include plastic box for washer hook-up?
35 | Include washing machine connection as indicated? 4/P6.02
36 | Include cleanouts where indicated as specified?
37 | Include 3" floor cleanout for domestic water RPZ as indicated at riser closet?
38 | Include hose bibb at corner of Building 3 for access to trash compactor? Refer to RFI-028 for clarification
39 | Include hose bibbs with vacuum breaker where indicated?
40 | Include plumbing boots for vent stacks (material only)?
41 | Include tub liners?
42 | Include tub/shower supply supports as indicated- Hold Rite Support Systems? 5/P6.02
43 | Include installation of water submeters?
44 | Include provision of water submeters?
45 | Include disposal installation?
46 | Include dishwasher installation?
47 | Include connecting dishwasher discharge to garbage disposal through above counter gap?
48 | Include fire-stopping of all penetrations?
Miscellaneous
1 | Include domestic water supply for the swimming pool area?
2 | Include sanitary sewer line for the swimming pool area?
3 | Include hose bibb at the Carwash?
4 | Include floor drains at the Carwash?
5 | Include oil interceptor at the Maintenance/Car Care area as specified? P1.G.11?
Bid Form Breakout
1 | Clubhouse
2 | Building Type B20 (Total for Buildings 1, 3, 4, 7, 8, 10, 11, 12, 13, 14)
3 | Building Type G24 (Total for Buildings 2, 5, 6, 9)
4 | Maintenance Building, Carwash, Trash/Recycle Enclosure, Mail Kiosk
5 | 6-Bay Garage (Building 16)
6 | 12-Bay Garage (Building 17)
7 | Site
| Base Bid | 0 | 0 | 0
Item | Adjustments
1 | Exclude gas supply line and fixtures at Clubhouse per Addendum 002 issued 7/16/2014?
2
3
| Revised Bid | 0 | 0 | 0
Alternates
1 | Add 2" irrigation meter at Clubhouse
2
3
1 | Yes
2 | No
3 | N/A
4 | See Adjustment