### State of Louisiana

Department of Health and Hospitals

Office of Public Health

Swimming Pool Project Application

| SWIMMING POOL PROJECT |  |  |
| --- | --- | --- |
| Stone Bridge Pool Replacement |  |  |
| Stone Bridge Apartment Community | Jefferson Parish |  |
| Public Pool Class1: Class A (competition) □ Class B (Public Recreation) XX Class C (semi/public use for lodgings) □ Class D (all other public uses) |  |  |
| Estimated Project Cost: $210,000 |  |  |
| In what type of facility will the pool be located (i.e. hotel, condominium, etc.)? Apartments |  |  |
| Public Water System (Source of Water): Parish |  | Is this an approved water source: X Yes □ No |
| Wastewater Disposed Into (Sewer System): Parish |  |  |
| Type of Disinfection at Swimming Pool: Chlorine □ Cyanuric Acid □ Bromine X □ Other: _Hypochlorite Solution |  |  |
| Type of Disinfection at Public Water System (Source Water): : X Chlorine □ Chloramines |  |  |

| PROJECT OWNER INFORMATION |  |  |  |
| --- | --- | --- | --- |
| Angie Martel |  |  |  |
| Multifamily Management, Inc |  |  |  |
| 4949 Stumberg Lane | Office Phone : (225)753.4255 |  |  |
| Baton Rouge, LA 70816 |  | Email : amartel@mmiprops.com |  |

| DESIGN ENGINEER INFORMATION |  |  |  |
| --- | --- | --- | --- |
| David Dammon / Brian Mistich |  |  |  |
| Dammon Engineering |  |  |  |
| 554 Old Spanish Trail | Slidell |  | LA 70458 |
| info@dammomengineering |  |  |  |

| POOL DIMENSIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Main Pool Shape: Angled L |  |  |  |  |  |
|  |  |  | Area (ft2): 1,339 |  | Perimeter (l.f.): 145 L.F. |
| Volume (ft3): 5,320.7 ft3 |  |  | Volume (gallons): 39,799 Gallons |  |  |
| Swimming Pool Depth |  | Minimum Depth (ft): 3.5 ft |  | Maximum Depth (ft): 6.0 ft |  |
| Pool Turnover (hours): 8 hour |  |  |  |  |  |

| POOL CONSTRUCTION MATERIALS |  |
| --- | --- |
| Material: Concrete | Material Color: White |
| Impervious: X Yes □ No | Smooth Surface: X Yes □ No |

| POOL DECK |  |
| --- | --- |
| Pool Deck Area (ft2): 2,211 s.f. | Deck Material: Concrete with pave stones |
| Minimum Tread Depth (in): n/a | Minimum Deck Width (ft): 4ft |
| Deck Drains to: X Perimeter Area Deck Drains |  |

Swimming Pool Specifications

Project Description:	Stone Bridge Pool Replacement

MAXIMUM USER LOAD CALCULATIONS

Maximum Users in Shallow, Instruction, or Wading Areas (persons): n/a

Maximum Users in Deep Area, not including Diving Areas (persons): n/a

Maximum Users in Diving Area, per each diving board (persons): n/a

Total Maximum User Load (persons): 67

| CIRCULATION SYSTEMS |  |  |
| --- | --- | --- |
| Recirculating Pump: 1hp, Electric | TDH (ft): 29 | Maximum Pump Capacity (GPM): 83 |
| Backwash Pump: n/a | TDH (ft): n/a | Maximum Pump Capacity (GPM): n/a |
| Maximum Water Velocity for: Discharge Piping (ft/sec): 5.42 Suction Piping (ft/sec): 5.42 |  |  |
| Number of Inlets: 8 |  |  |
| Number of Outlets/Drains: 7 |  |  |

POOL APPURTENANCES

Diving Board (if none, write n/a): n/a

Diving Equipment (if none, write n/a): n/a

Recessed Treads (if none, write n/a): n/a

Surface Skimmer System: X Automatic Surface Skimmer □ Perimeter-Type □ Overflow Gutter

Heaters (if none, write n/a): n/a

Lighting (if none, write n/a): Pool deck estimated at 2,211 s.f. x 2 watts/s.f. = 4,422 watts; 4,422 watts x 20 lamp lumens/ watt = 88,440 lumens

Ventilation (for indoor pools) (if none, write n/a): n/a

Lifesaving Equipment: Yes

Security/Barriers: Yes, fence

Sunning or Tanning Shelves (if none, write n/a): Tanning Shelf

Underwater Seat Bench (if none, write n/a): n/a