Electrical:  120/240V Single Phase (maybe two panels)

HVAC:  9.2 Tons Required, (since electrical is single phase only the largest HVAC can be 5 tons.)

2 ea 5 ton 2,000 cfm units  Fresh air is 525 cfm

Above Ground Interceptor / In ground Grease Trap: In Ground

Comments:

Nothing can sit on the roof all compressors on site walk in rear or elevated above 7’

