{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["Project Status Form","Equipment Schedule","Door Schedule","Finish Schedule","SUBWAY® Equipment Schedule","AUNT M'S Equipment Schedule"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Project Status Form","index":0,"n_rows":54,"n_cols":8,"rows_kept":54,"merged":[[0,0,8,0],[0,2,0,9],[1,2,1,9],[2,2,2,9],[3,3,3,4],[3,7,3,9],[4,2,5,5],[4,6,5,6],[4,7,4,9],[5,7,5,9],[6,2,6,3],[6,4,6,5],[6,6,6,9],[7,2,7,9],[8,2,8,9],[9,0,22,0],[9,2,9,5],[9,6,9,9],[10,2,10,3],[10,4,10,5],[10,7,10,9],[11,2,11,5],[11,6,11,9],[12,4,12,5],[12,7,12,9],[13,2,14,3],[13,4,13,5],[13,6,14,6],[13,7,13,9],[14,4,14,5],[14,7,14,9],[15,2,15,5],[15,6,15,9],[16,2,16,3],[16,4,16,5],[16,7,16,9],[17,2,17,5],[17,6,17,9],[18,2,18,3],[18,4,18,5],[18,7,18,9],[19,4,19,5],[19,7,19,9],[20,4,20,5],[20,7,20,9],[21,2,22,3],[21,4,21,5],[21,6,22,6],[21,7,21,9],[22,4,22,5],[22,7,22,9],[23,0,37,0],[23,2,23,3],[23,8,23,9],[24,2,24,5],[24,6,24,9],[25,2,25,3],[25,4,25,5],[25,7,25,9],[26,2,26,5],[26,6,26,9],[27,4,27,5],[27,7,27,9],[28,2,28,5],[28,6,28,9],[29,4,29,5],[29,7,29,9],[30,2,32,3],[30,4,30,5],[30,6,32,6],[30,7,30,9],[31,4,31,5],[31,7,31,9],[32,4,32,5],[32,7,32,9],[33,2,33,3],[33,4,33,5],[33,7,33,9],[34,2,34,5],[34,6,34,9],[35,2,35,3],[35,4,35,5],[35,7,35,9],[36,2,37,5],[36,6,37,9],[38,2,38,3],[38,8,38,9],[39,2,39,5],[39,6,39,9],[40,2,40,3],[40,4,40,5],[40,7,40,9],[41,2,41,5],[41,6,41,9],[42,4,42,5],[42,7,42,9],[43,2,43,5],[43,6,43,9],[44,4,44,5],[44,7,44,9],[45,2,47,3],[45,4,45,5],[45,6,47,6],[45,7,45,9],[46,4,46,5],[46,7,46,9],[47,4,47,5],[47,7,47,9],[48,2,48,3],[48,4,48,5],[48,7,48,9],[49,2,49,5],[49,6,49,9],[50,2,50,3],[50,4,50,5],[50,7,50,9],[51,2,52,5],[51,6,52,9],[53,0,60,0],[53,2,53,3],[53,4,53,9],[54,2,60,3],[54,4,54,9],[55,4,55,9],[56,4,56,9],[57,4,57,9],[58,4,58,9],[59,4,59,9],[60,4,60,9]],"flags":["formulas_cached_only"]}
["Store Information"]
[]
[]
[null,null,"Store #:",{"$nulls":3},"Store Address: "]
[]
[]
[null,null,"Project Type:"]
[]
[]
["Jurisdiction"]
[null,null,"Jurisdiction:",{"$nulls":3},"Health Dept:"]
[]
[null,null,"Contact Information:",{"$nulls":3},"Contact Information:"]
[]
[]
[]
[null,null,"Contact Phone #:",{"$nulls":3},"Contact Phone #:"]
[]
[null,null,"Permits:",{"$nulls":3},"Permits:"]
[null,null,"Permit Status:",{"$nulls":3},"Permit Status:"]
[null,null,"Fees Required:",{"$nulls":3},"Fees Required: "]
[]
[]
["Equipment",{"$nulls":3},"Equipment",null,null,"Equipment"]
[]
[null,null,"Vendor Name:",{"$nulls":3},"Vendor Name:"]
[]
[null,null,"Contact Person:",{"$nulls":3},"Contact Person:"]
[]
[null,null,"Contact Info:",{"$nulls":3},"Contact Info:"]
[]
[]
[]
[null,null,"Contact Phone #:",{"$nulls":3},"Contact Phone #:"]
[]
[null,null,"Order Status:",{"$nulls":3},"Order Status:"]
[]
[]
[{"$nulls":4},"Equipment",null,null,"Equipment"]
[]
[null,null,"Vendor Name:",{"$nulls":3},"Vendor Name:"]
[]
[null,null,"Contact Person:",{"$nulls":3},"Contact Person:"]
[]
[null,null,"Contact Info:",{"$nulls":3},"Contact Info:"]
[]
[]
[]
[null,null,"Contact Phone #:",{"$nulls":3},"Contact Phone #:"]
[]
[null,null,"Order Status:",{"$nulls":3},"Order Status:"]
[]
[]
["Attachments",null,"Attachments:"]

{"sheet":"Equipment Schedule","index":1,"n_rows":28,"n_cols":28,"rows_kept":28,"merged":[[0,1,0,27],[1,1,3,1],[1,2,3,2],[1,3,3,3],[1,4,3,4],[1,5,3,26],[1,27,3,27],[4,1,6,1],[4,2,6,2],[4,3,6,3],[4,4,6,4],[4,5,5,6],[4,7,6,7],[4,8,5,9],[4,10,5,11],[4,12,6,12],[4,13,4,19],[4,20,4,22],[4,23,4,24],[4,26,6,26],[4,27,6,27],[5,13,6,13],[5,14,6,14],[5,15,6,15],[5,16,6,16],[5,17,6,17],[5,18,6,18],[5,19,6,19],[5,20,6,20],[5,21,6,21],[5,22,6,22],[5,23,6,23],[5,24,6,24],[5,25,6,25],[7,1,9,1],[10,1,13,1],[14,1,24,1],[25,1,27,1],[25,2,27,2],[25,3,27,3],[25,4,27,4],[25,7,27,7],[25,12,27,12],[25,13,26,13],[25,14,26,14],[25,15,26,15],[25,16,26,16],[25,17,26,17],[25,18,26,18],[25,19,26,19],[25,20,26,20],[25,21,26,21],[25,22,26,22],[25,23,26,23],[25,24,26,24],[25,25,26,25],[25,26,27,26],[25,27,27,27],[26,5,27,6],[26,8,27,9],[26,10,27,11],[27,13,27,19],[27,20,27,22],[27,23,27,24]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":3},"MARK #","STORE #3988 - Kentwood, LA","EQUIPMENT SCHEDULE",{"$nulls":21},"MARK #"]
[]
[]
[null,null,"EXISTING LOCATION","ITEM NUMBER","ITEM DESCRIPTION","DESIGN SPEC",null,"ORDERED BY","ALTERNATE",null,"OWNER FURNISHED",null,"CONTRACTOR FURNISHED AND INSTALLED","ELECTRICAL",{"$nulls":6},"WATER",null,null,"WASTE",null,"GAS","REMARKS","ITEM NUMBER"]
[{"$nulls":13},"AMPS","WATTS","HP","VOLTS","PHASE","DIRECT","PLUG","FILTERED","COLD","HOT","DIRECT","INDIRECT","BTU'S"]
[{"$nulls":5},"MANUFACTURER","MODEL",null,"MANUFACTURER","MODEL","CONTRACTOR INSTALL","OWNER INSTALL"]
[null,"BEVERAGE & HOT DOG"]
[null,null,"RELC",13,"BAG IN BOX RACK"," "," ",null," "," "," ",null," "," "," "," "," "," "," "," "," "," "," "," "," "," "," EXISTING TO BE RELOCATED",13]
[]
[null,"CHECKOUT / MISC."]
[null,null,"NEW",87,"72\" AIR CURTAIN","BERNER","KZN1072A","PLANNING"," "," ","X"," "," ",3.4," ","1/5",120,1,"X"," "," "," "," "," "," "," ","PROVIDE W/ MODEL 9503SD020-P AUTO DOOR SWITCH",87]
[null,null,"NEW",89,"PEST CONTROL SYSTEM (QTY 2)","PARACLIPSE",250602,"PLANNING"," "," ","X"," "," "," ",44," ","115/120",1," ","X"," "," "," "," "," "," ","PROVIDE RECEPTACLE IN CEILING",89]
[]
[null,"METAL COUNTER & DÉCOR"]
[null,null,"NEW",109,"INTERIOR DECOR PACKAGE"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," ",109]
[null,null," "," ","8' BEANSTREET HANGING SIGN"," "," ","MKTG"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," ","BOTTOM OF SIGN MOUNTED AT 82\" A.F.F."," "]
[null,null," "," ","GRILLING DEPOT HANGING SIGN"," "," ","MKTG"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," ","BOTTOM OF SIGN MOUNTED AT 72\" A.F.F."," "]
[null,null," "," ","WALL MAP VINYL","PPC"," ","PLANNING"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," ","BOTTOM OF SIGN MOUNTED AT 82\" A.F.F."," "]
[null,null," "," ","LIFESTYLE IMAGES","PPC"," ","PLANNING"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," ","TO BE SPACED EVENLY BETWEEN WORD COPY AT WALK-IN COOLER"," "]
[null,null," "," ","15\" WORD COPY","PPC"," ","PLANNING"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," ","VERIFY TYPE AND LOCATION WITH MARKETING LAYOUT"," "]
[null,null," "," ","RESTROOM SIGN","PPC"," ","PLANNING"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "]
[null,null," "," ","KANGAROO EXPRESS SIGN","PPC"," ","PLANNING"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "," "]
[null,null," "," ","AIR GRAPHIC W/ PLANE","PPC"," ","PLANNING"," "," ","X"," "," "," "," "," "," "," "," "," "," "," "," "," "," "," ","TO BE APPLIED ABOVE CIGARETTE SLATWALL"," "]
[]
[null,null,"EXISTING LOCATION","ITEM NUMBER","ITEM DESCRIPTION","MANUFACTURER","MODEL","ORDERED BY","MANUFACTURER","MODEL","CONTRACTOR INSTALL","OWNER INSTALL","CONTRACTOR FURNISHED AND INSTALLED","AMPS","WATTS","HP","VOLTS","PHASE","DIRECT","PLUG","FILTERED","COLD","HOT","DIRECT","INDIRECT","BTU'S","REMARKS","ITEM NUMBER"]
[{"$nulls":5},"DESIGN SPEC",null,null,"ALTERNATE",null,"OWNER FURNISHED"]
[{"$nulls":13},"ELECTRICAL",{"$nulls":6},"WATER",null,null,"WASTE",null,"GAS"]

{"sheet":"Door Schedule","index":2,"n_rows":24,"n_cols":14,"rows_kept":24,"merged":[[0,1,0,13],[1,1,1,4],[1,6,1,7],[1,9,1,10],[1,11,1,13],[2,1,3,1],[2,2,2,3],[2,4,2,12]],"flags":["formulas_cached_only"]}
[]
[null,"DOOR SCHEDULE",{"$nulls":3},"STORE #",null,null,"DATE"]
[null,"#","FRAME",null,"DOOR"]
[null,null,"TYPE","MATERIAL","TYPE","MATERIAL","WIDTH","HEIGHT","THICKNESS","GLAZING","LOUVER","FINISH","THRESHOLD","REMARKS"]
[null,1]
[null,2]
[null,3]
[null,4]
[null,5]
[null,6]
[null,7]
[null,8]
[null,9]
[null,10]
[null,11]
[null,12]
[null,13]
[null,14]
[null,15]
[null,16]
[null,17]
[null,18]
[null,19]
[null,20]

{"sheet":"Finish Schedule","index":3,"n_rows":24,"n_cols":13,"rows_kept":24,"merged":[[0,1,0,12],[1,1,1,4],[1,6,1,7],[1,9,1,10],[1,11,1,12],[2,1,3,1],[2,2,3,2],[2,3,2,4],[2,5,2,6],[2,7,2,8],[2,9,2,11],[2,12,3,12]],"flags":["formulas_cached_only"]}
[]
[null,"FINISH SCHEDULE",{"$nulls":3},"STORE #",null,null,"DATE"]
[null,"#","DESCRIPTION","FLOOR",null,"BASE",null,"WALL",null,"CEILING",null,null,"REMARKS"]
[{"$nulls":3},"SUB","FINISH","SUB","FINISH","SUB","FINISH","SUB","FINISH","HEIGHT"]
[null,1,"SALES AREA"]
[null,2,"CHECKOUT"]
[null,3,"STORAGE"]
[null,4,"COOLER"]
[null,5,"MEN'S"]
[null,6,"WOMEN'S"]
[null,7,"CIG CLOSET"]
[null,8,"QSR SEATING"]
[null,9,"QSR KITCHEN"]
[null,10,"QSR BACKROOM"]
[null,11,"CORRIDOR"]
[null,12]
[null,13]
[null,14]
[null,15]
[null,16]
[null,17]
[null,18]
[null,19]
[null,20]

{"sheet":"SUBWAY® Equipment Schedule","index":4,"n_rows":49,"n_cols":28,"rows_kept":49,"merged":[[0,1,0,27],[1,1,3,1],[1,2,3,2],[1,3,3,3],[1,4,3,4],[1,5,3,26],[1,27,3,27],[4,1,6,1],[4,2,6,2],[4,3,6,3],[4,4,6,4],[4,5,5,6],[4,7,6,7],[4,8,5,9],[4,10,5,11],[4,12,6,12],[4,13,4,19],[4,20,4,22],[4,23,4,24],[4,26,6,26],[4,27,6,27],[5,13,6,13],[5,14,6,14],[5,15,6,15],[5,16,6,16],[5,17,6,17],[5,18,6,18],[5,19,6,19],[5,20,6,20],[5,21,6,21],[5,22,6,22],[5,23,6,23],[5,24,6,24],[5,25,6,25],[7,1,25,1],[26,1,44,1],[46,1,48,1],[46,2,48,2],[46,3,48,3],[46,4,48,4],[46,7,48,7],[46,12,48,12],[46,13,47,13],[46,14,47,14],[46,15,47,15],[46,16,47,16],[46,17,47,17],[46,18,47,18],[46,19,47,19],[46,20,47,20],[46,21,47,21],[46,22,47,22],[46,23,47,23],[46,24,47,24],[46,25,47,25],[46,26,48,26],[46,27,48,27],[47,5,48,6],[47,8,48,9],[47,10,48,11],[48,13,48,19],[48,20,48,22],[48,23,48,24]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":3},"MARK #","SUBWAY Location #19808 - Kentwood, LA","SUBWAY EQUIPMENT SCHEDULE",{"$nulls":21},"MARK #"]
[]
[]
[null,null,"EXISTING LOCATION","ITEM NUMBER","ITEM DESCRIPTION","DESIGN SPEC",null,"ORDERED BY","ALTERNATE",null,"OWNER FURNISHED",null,"CONTRACTOR FURNISHED AND INSTALLED","ELECTRICAL",{"$nulls":6},"WATER",null,null,"WASTE",null,"GAS","REMARKS","ITEM NUMBER"]
[{"$nulls":13},"AMPS","WATTS","HP","VOLTS","PHASE","DIRECT","PLUG","FILTERED","COLD","HOT","DIRECT","INDIRECT","BTU'S"]
[{"$nulls":5},"MANUFACTURER","MODEL",null,"MANUFACTURER","MODEL","CONTRACTOR INSTALL","OWNER INSTALL"]
[null,"PREP & SERVING"]
[null,null,"NEW",200,"25\" HOT PAN UNIT","DUKE",null,"PLANNING",null,null,"X",null,null,4.2,500,null,"118/60",1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY W/ TUSCANY DECOR PACKAGE",200]
[null,null,"NEW",201,"60\" COLD PAN UNIT (QTY. 2) ","DUKE",null,"PLANNING",null,null,"X",null,null,8.5,null,39084,"120/60",1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY W/ TUSCANY DECOR PACKAGE",201]
[null,null,"NEW",202,"60\" SAFE / CASHIER UNIT",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY W/ TUSCANY DECOR PACKAGE",202]
[null,null,"NEW","202A","13\" FILLER CABINET","DUKE",null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY W/ TUSCANY DECOR PACKAGE"]
[null,null,"NEW",203,"BREAD OVEN","NU-VU","SUB-123","PLANNING",null,null,"X",null,null,{"v":30,"d":"30.0"},{"v":5135,"d":"5,135"},null,"208/240",1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY; PROVIDE WITH TYPE-II EXHAUST HOOD (SUPPLIED AND INSTALLED BY G.C.)",203]
[null,null,"NEW",204,"BREAD CABINET","LOCKWOOD","CA72-RR18","PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY",204]
[null,null,"NEW",205,"36\" REFRIGERATED BACK COUNTER","DUKE",null,"PLANNING",null,null,"X",null,null,10.1,null,39087,115,1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY W/ TUSCANY DECOR PACKAGE",205]
[null,null,"NEW",206,"48\" DRY BACK BAR","DUKE",null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY W/ TUSCANY DECOR PACKAGE",206]
[null,null,"NEW",207,"48\" BACK BAR W/ DROP-IN HAND SINK","DUKE",null,"PLANNING",null,null,"X",{"$nulls":10},"X","X","X",null,null,"ORDER FROM SUBWAY W/ TUSCANY DECOR PACKAGE",207]
[null,null,"NEW",208,"MICROWAVE (QTY 2)","AMANA","RCS10MP","PLANNING",null,null,"X",null,null,{"v":20,"d":"20.0"},{"v":1000,"d":"1,000"},null,120,1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY",208]
[null,null,"NEW",209,"TOASTER OVEN","TURBOCHEF","TORNADO","PLANNING",null,null,"X",null,null,{"v":30,"d":"30.0"},{"v":3000,"d":"3,000"},null,208,1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY",209]
[null,null,"NEW",210,"CASH REGISTER","PAR",null,"ROMINES",{"$nulls":3},"X",{"$nulls":4},120,1,null,"X",{"$nulls":6},"DEDICATED PHONE LINE UNDER COUNTER",210]
[null,null,"NEW",211,"QUICK-DROP SAFE","CSS","BD 1512","PLANNING",null,null,"X",{"$nulls":15},"ORDER FORM SUBWAY; PROVIDE W/ ITEM 1810- PUSH BUTTON LOCK W/ TIME DELAY",211]
[null,null,"NEW",215,"30\"X48\" STAINLESS STEEL PREP TABLE","EAGLE","T3048SE","PLANNING",null,null,"X",{"$nulls":15},"TO BE ORDERED WITH C-STORE EQUIPMENT",215]
[null,null,"NEW",218,"RETARDER CABINET","LOCKWOOD","CA60-RR25","PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY",218]
[null,null,"NEW",221,"44\" CHIP RACK",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY",221]
[null,null,"NEW",222,"DAYCOVER COOKIE CASE",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FORM SUBWAY",222]
[]
[null,"LIGHTING & DÉCOR"]
[null,null,"NEW",225,"SUBWAY MENUBOARD PACKAGE","VGS",null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FORM SUBWAY; MENUBOARDS TO BE INSTALLED W/ UTLRA SLIMLITE FIXTURES (SEE ITEM #127 FOR INFORMATION); MENUBOARDS TO BE MOUNTED 6\" FROM FINISHED CEILING TO TOP OF SLIMLITE",225]
[null,null,"NEW",226,"21\"X30\" NEON SIGN (WE BAKE OUR OWN BREAD)","ZEON",null,"PLANNING",null,null,"X",null,null,{"v":0.65,"d":"0.7"},null,null,120,1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY; INSTALLED AT STORE FRONT - VERIFY LOCATION W/ DON ROMINES"]
[null,null,"NEW",227,"18\"X30\" NEON SUIGN (SUBWAY OPEN)","ZEON",null,"PLANNING",null,null,"X",null,null,{"v":0.65,"d":"0.7"},null,null,120,1,null,"X",{"$nulls":6},"ORDER FROM SUBWAY; INSTALLED AT STORE FRONT - VERIFY LOCATION W/ DON ROMINES"]
[null,null,"NEW",228,"10\"X15\" HANGING SIGN (PLEASE ORDER HERE)",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY; SIGN TO BE PROVIDED W/ 1 SET OF BRASS HANGERS"]
[null,null,"NEW",229,"23\"X50\" UPSCALE WALL ART (0 GROUP OF 0 PRINTS)",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY; REFER TO SUBWAY DETAIL SHEET FOR INSTALLATION INFORMATION"]
[null,null,"NEW",230,"SUBWAY FOAM CONTOUR SIGN (12\" LETTERS)","ATLANTIC FOAM",null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM ATLANTIC FOAM"]
[null,null,"NEW",231,"SUBWAY FAUX BRICK HEADER TRIM (18.3 LINEAR FEET)","ATLANTIC FOAM",null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM ATLANTIC FOAM W/ NECESSARY BACKER MATERIAL"]
[null,null,"NEW",232,"SUBWAY INTERIOR DECOR PACKAGE",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FORM SUBWAY; REFER TO SUBWAY DETAIL SHEET FOR SEATING DECOR INFORMATION",226]
[{"$nulls":4},"RUSTIC BRICK WALL COVERING (54\" X 47 YARDS)",null,null,"PLANNING",{"$nulls":19},227]
[{"$nulls":4},"TUSCAN STUCCO WALL COVERING (38\" X 4 YARDS)",null,null,"PLANNING",{"$nulls":19},228]
[{"$nulls":4},"CITYSCAPE WALL COVERING (4 YARDS X 4 YARDS)",null,null,"PLANNING",{"$nulls":19},229]
[{"$nulls":4},"QUENTIN WALL COVERING (54\" X 00 YARDS)",null,null,"PLANNING",{"$nulls":19},230]
[{"$nulls":4},"CHAIR RAIL MOLDING #587 (QTY. 2 - 8 FOOT PIECES)",null,null,"PLANNING",{"$nulls":19},231]
[{"$nulls":4},"DECORATIVE TRIM #102 (QTY. 2 - 8 FOOT PIECES)",null,null,"PLANNING",{"$nulls":19},232]
[null,null,"NEW",233,"SUBWAY LIGHTING PACKAGE",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY",233]
[{"$nulls":4},"ULTRA SLIMLITES - MENUBOARD","SPECIALTY LIGHTING","T5","PLANNING",null,null,"X",null,null,{"v":0.85,"d":"0.9"},null,null,120,1,null,"X",{"$nulls":6},"TO BE MOUNTED TO TOP ROW OF MENUBOARDS"]
[{"$nulls":4},"2'X2' ACRYLIC LENSE / 2 LAMP (QTY. 3)","LIGHTOLIER",null,"PLANNING",null,null,"X",{"$nulls":7},"X"]
[{"$nulls":4},"TRACK LIGHTING","LIGHTOLIER","LYTESPAN 9100","PLANNING",null,null,"X",{"$nulls":7},"X",{"$nulls":7},"PROVIDE (1) 4-FOOT SECTION FOR FOAM SUBWAY LETTERS AT BULKHEAD & (0) 0-FOOT SECTION FOR WALL ART LOCATION"]
[]
[null,null,"EXISTING LOCATION","ITEM NUMBER","ITEM DESCRIPTION","MANUFACTURER","MODEL","ORDERED BY","MANUFACTURER","MODEL","CONTRACTOR INSTALL","OWNER INSTALL","CONTRACTOR FURNISHED AND INSTALLED","AMPS","WATTS","HP","VOLTS","PHASE","DIRECT","PLUG","FILTERED","COLD","HOT","DIRECT","INDIRECT","BTU'S","REMARKS","ITEM NUMBER"]
[{"$nulls":5},"DESIGN SPEC",null,null,"ALTERNATE",null,"OWNER FURNISHED"]
[{"$nulls":13},"ELECTRICAL",{"$nulls":6},"WATER",null,null,"WASTE",null,"GAS"]

{"sheet":"AUNT M'S Equipment Schedule","index":5,"n_rows":62,"n_cols":28,"rows_kept":62,"merged":[[0,1,0,27],[1,1,3,1],[1,2,3,2],[1,3,3,3],[1,4,3,4],[1,5,3,26],[1,27,3,27],[4,1,6,1],[4,2,6,2],[4,3,6,3],[4,4,6,4],[4,5,5,6],[4,7,6,7],[4,8,5,9],[4,10,5,11],[4,12,6,12],[4,13,4,19],[4,20,4,22],[4,23,4,24],[4,26,6,26],[4,27,6,27],[5,13,6,13],[5,14,6,14],[5,15,6,15],[5,16,6,16],[5,17,6,17],[5,18,6,18],[5,19,6,19],[5,20,6,20],[5,21,6,21],[5,22,6,22],[5,23,6,23],[5,24,6,24],[5,25,6,25],[9,1,15,1],[16,1,48,1],[49,1,57,1],[59,1,61,1],[59,2,61,2],[59,3,61,3],[59,4,61,4],[59,7,61,7],[59,12,61,12],[59,13,60,13],[59,14,60,14],[59,15,60,15],[59,16,60,16],[59,17,60,17],[59,18,60,18],[59,19,60,19],[59,20,60,20],[59,21,60,21],[59,22,60,22],[59,23,60,23],[59,24,60,24],[59,25,60,25],[59,26,61,26],[59,27,61,27],[60,5,61,6],[60,8,61,9],[60,10,61,11],[61,13,61,19],[61,20,61,22],[61,23,61,24]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":3},"MARK #","AUNT M'S Location #3868         SANFORD, NC","AUNT M'S EQUIPMENT SCHEDULE",{"$nulls":21},"MARK #"]
[]
[]
[null,null,"EXISTING LOCATION","ITEM NUMBER","ITEM DESCRIPTION","DESIGN SPEC",null,"ORDERED BY","ALTERNATE",null,"OWNER FURNISHED",null,"CONTRACTOR FURNISHED AND INSTALLED","ELECTRICAL",{"$nulls":6},"WATER",null,null,"WASTE",null,"GAS","REMARKS","ITEM NUMBER"]
[{"$nulls":13},"AMPS","WATTS","HP","VOLTS","PHASE","DIRECT","PLUG","FILTERED","COLD","HOT","DIRECT","INDIRECT","BTU'S"]
[{"$nulls":5},"MANUFACTURER","MODEL",null,"MANUFACTURER","MODEL","CONTRACTOR INSTALL","OWNER INSTALL"]
[]
[]
[null,"CHECKOUT / MISC."]
[null,null,"NEW",70,"REGISTER","GILBARCO","G-SITE","I.S.",{"$nulls":3},"X",null,{"v":8,"d":"8.0"},null,null,120,1,null,"X"," "," "," "," "," "," ","DEDICATED CIRCUIT WIRED THROUGH SURGE MANAGEMENT AND UPS",70]
[null,null,"NEW","70B","SCANNER",null,null,"I.S.",{"$nulls":3},"X",{"$nulls":15},"70B"]
[null,null,"NEW","70C","RECEIPT PRINTER",null,null,"I.S.",{"$nulls":3},"X",{"$nulls":15},"70C"]
[null,null,"NEW","70D","CARD READER",null,null,"I.S."," "," ",null,"X"," ",{"$nulls":7}," "," "," "," "," ",null,null,"70D"]
[null,null,"NEW",74,"SAFE","TIDEL","TACC IIA ","CONST"," "," ",null,"X"," ",{"v":5,"d":"5.0"},null,null,120,1,null,"X",null," "," "," "," "," ","DEDICATED CIRCUIT WIRED THROUGH SURGE MANAGEMENT AND UPS",74]
[]
[null,"PREP & SERVING"]
[null,null,"NEW",151,"METAL BEVERAGE AND SALES COUNTERS","ROYSTON",null,"PLANNING","DUKE",null,"X",{"$nulls":15},"WHITE WITH RED KICKPLATES; STAINLESS STEEL TOPS AND INTERGRAL BACKSPLASH ",151]
[null,null,"NEW",152,"CONDIMENT ISLAND","ROYSTON",null,"PLANNING","DUKE",null,"X",{"$nulls":15},"WHITE WITH RED KICKPLATES; STAINLESS STEEL TOPS AND INTERGRAL BACKSPLASH ",152]
[null,null,"NEW",153,"48\" REFRIGERATED BACK COUNTER (QTY. 2)","DUKE",null,"PLANNING",null,null,"X",null,null,10.1,null,39087,115,1,null,"X",{"$nulls":7},153]
[null,null,"NEW",155,"48\" BACK BAR W/ DROP-IN HAND SINK","DUKE",null,"PLANNING",null,null,"X",{"$nulls":10},"X","X","X",{"$nulls":3},155]
[null,null,"NEW",156,"HEATED MERCHANDISER","HENNY PENNY ","HMR-106","PLANNING",null,null,"X",null,null,{"v":29,"d":"29.0"},null,null,"120/208",3,null,"X",{"$nulls":6},"(USE NEMA L21-30P PLUG TYPE)",156]
[null,null,"NEW",157,"HEATED HOLDING CABINET","HENNY PENNY ","HHC-900","PLANNING",null,null,"X",null,null,16.2,null,null,120,1,null,"X",{"$nulls":7},157]
[null,null,"NEW",158,"MICROWAVE ",null,null,"MKTG",{"$nulls":3},"X",null,{"v":3,"d":"3.0"},{"v":1000,"d":"1,000"},null,120,1,null,"X",{"$nulls":6},"VENDOR PROVIDED",158]
[null,null,"NEW",159,"DIGITAL SCALE",null,null,"PLANNING",null,null,"X",{"$nulls":16},159]
[null,null,"NEW",160,"8 HD SODA FOUNTAIN UNIT","SERVEND","MD200","PLANNING",{"$nulls":3},"X",null,2.5,null,null,120,1,null,"X","X","X",null,null,"X",null,"3/4\" MAIN TRUNK LINE FROM FILTER, TEE 1/2\" LINE W/ BRASS BALL VALVE AND 3/8\" FLARE FITTING TO EACH PIECE OF EQUIPMENT",160]
[null,null,"NEW","160B","COARBONATOR","SERVEND",null,"PLANNING",{"$nulls":3},"X",{"$nulls":4},120,1,null,"X",{"$nulls":4},"X",null,"TO BE INSTALLED ON 18\"X36\" SHELF ABOVE BAG IN BOX","160B"]
[null,null,"NEW",161,"ICE MAKER","MANITOWOC","SY-0594N","PLANNING","MANITOWOC","IB 0624XC",null,"X",null,13.5,null,null,120,1,"X",null,"X","X",null,null,"X",null,"1/2\" WATER LINE FROM SCALE INHIBITOR; FOR ALTERNATE UNIT (IB 0624XC), PROVIDE W/ IB3 ADAPTER ",161]
[null,null,"NEW","161B","REMOTE CONDENSER FOR ICE MAKER (50' LINE SET)","MANITOWOC","JC-0495","PLANNING","MANITOWOC","CUD",null,"X",null,2.3,null,null,120,1,"X",null,"X","X",{"$nulls":4},"G.C. TO RUN ELECTRICAL AND CONTROL WIRING; PROVIDE W/RT404A LINE SET (RT 51 LINE SET FOR ALTERNATE CONDENSER)","161B"]
[null,null,"NEW",162,"COFFEE BREWER (QTY.1)","CURTIS","ALPHA 1GT","PLANNING",null,null,"X",null,null,14.8,{"v":1780,"d":"1,780"},null,120,1,null,"X","X","X",{"$nulls":4},"3/4\" MAIN TRUNK LINE FROM FILTER TO COFFEE BAR, TEE 1/2\" LINE W/ BRASS BALL VALVE AND 3/8\" FLARE FITTING TO EACH PIECE OF EQUIPMENT; SINGLE OUTLET",162]
[null,null,"NEW",163,"COFFEE GRINDER","CURTIS","SLG","PLANNING",null,null,"X",null,null,{"v":8,"d":"8.0"},null,"1/2",120,1,null,"X",{"$nulls":6},"SINGLE OUTLET",163]
[null,null,"NEW",164,"COOKIE DISPLAY CASE",null,null,"MKTG",{"$nulls":19},164]
[null,null,"NEW",166,"36\" POST MOUNTED SWING GATE ",null,null,"PLANNING",null,null,"X",{"$nulls":15},"SWING GATE COLOR REFER TO DETAILS ELEVATION-H",166]
[null,null,"NEW",167,"36\" ELIASON DOOR ",null,null,"PLANNING",{"$nulls":4},"X",{"$nulls":14},167]
[null,null,"NEW",165,"AUNT M'S SMALLWARES PACKAGE",null,null,"PLANNING",{"$nulls":3},"X",{"$nulls":15},165]
[null,null,"NEW",170,"RANGE","GARLAND","S686","PLANNING",null,null,"X",{"$nulls":5},208,1,"X",{"$nulls":7},"WITH GRIDDLE",170]
[null,null,"NEW",171,"PRESSURE FRYER (QTY. 3)","HENNY PENNY ","PFE-500","PLANNING",null,null,"X",null,null,{"v":38,"d":"38.0"},null,null,208,1,"X",{"$nulls":8},171]
[null,null,"NEW",172,"DUMP CART","HENNY PENNY ","DT-221","PLANNING",null,null,"X",{"$nulls":16},172]
[null,null,"NEW",173,"GREASE DISPOSAL UNIT","FRYMASTER, LLC","SDU50","PLANNING",{"$nulls":19},173]
[null,null,"NEW",174,"4'X12' OVEN HOOD VENT",{"$nulls":22},174]
[null,null,"NEW",175,"BREADING MACHINE ","HENNY PENNY ","BM-110","PLANNING",{"$nulls":3},"X",null,4.2,null,"1/4",120,1,null,"X",{"$nulls":7},175]
[null,null,"NEW",176,"POTATO CUTTER","HENNY PENNY ","PC-200","PLANNING",{"$nulls":3},"X",{"$nulls":15},176]
[null,null,"NEW",179,"30\"X60\" STAINLESS STEEL PREP TABLE (QTY. 3)","ROYSTON",null,"PLANNING","DUKE",{"$nulls":18},179]
[null,null,"NEW",180,"PREP CART","RUBBERMAID",null,"PLANNING",{"$nulls":19},180]
[null,null,"NEW",181,"PREP SINK W/ 1 DRAINBOARD LEFT","EAGLE","414-18-1-18L","PLANNING","ADVANCE",null,"X",{"$nulls":10},"X","X","X",null,null,"PROVIDE W/ FAUCET, NSF APPROVED; PLUMBING HOOK-UP BY G.C. ",181]
[null,null,"NEW",182,"3-COMPARTMENT SINK W / 2 DRAINBOARDS","EAGLE","414-16-3-24","PLANNING","ADVANCE",null,"X",{"$nulls":10},"X","X",null,"X",null,"PROVIDE W/ PRE-RINSE, OVERFLOW AND ADAPTA FAUCET; PLUMBING HOOK-UP BY G.C. ",182]
[null,null,"NEW",183,"MOP SINK",null,null,"PLANNING",{"$nulls":4},"X",{"$nulls":8},"X","X","X",null,null,"24\"X24\"X12\" HIGH ONE-PIECE BASIN; SEE PLUMBING DRAWINGS ",183]
[null,null,"NEW",184,"WALL MOUNTED HAND SINK ","EAGLE","HAS-10-F","PLANNING","ADVANCE",null,"X",{"$nulls":10},"X","X","X",null,null,"PROVIDE W/ FAUCET, NSF APPROVED; PLUMBING HOOK-UP BY G.C.",184]
[]
[null,"LIGHTING & DÉCOR"]
[null,null,"NEW",234,"AUNT M'S SEATING PACKAGE ",null,null,"PLANNING",null,null,"X",{"$nulls":15},"ORDER FROM SUBWAY",234]
[{"$nulls":4},"20\"X24\" TABLES (QTY. 10)","PLYMOLD",null,"PLANNING",null,null,"X",{"$nulls":15},"2-COLOR INLAY TABLE TOP; PROVIDE W/ 22\"X22\" BLACK METAL SPIDER BASE"]
[{"$nulls":4},"ADA42 4-SEAT BOOTH","PLYMOLD",null,"PLANNING",null,null,"X",{"$nulls":15},"42\" LONG BENCH,  30\"X33\" TABLE TOP"]
[{"$nulls":4},"ALUMINUM CHAIRS (QTY. 22)","QUEST",null,"PLANNING",null,null,"X",{"$nulls":15},"ALUMINUM CHAIR W/ SEPIA FINISH,  COMPOSITE SEAT"]
[{"$nulls":4},"TRASH RECEPTACLE (QTY. 2)","DURA EDGE",null,"PLANNING",null,null,"X"]
[]
[null,null,"NEW",189,"MENU BOARDS","PPC",null,"PLANNING","PPC"]
[null,null,"NEW",190,"INTERIOR DÉCOR PACKAGE","PPC",null,"PLANNING","PPC"]
[]
[null,null,"EXISTING LOCATION","ITEM NUMBER","ITEM DESCRIPTION","MANUFACTURER","MODEL","ORDERED BY","MANUFACTURER","MODEL","CONTRACTOR INSTALL","OWNER INSTALL","CONTRACTOR FURNISHED AND INSTALLED","AMPS","WATTS","HP","VOLTS","PHASE","DIRECT","PLUG","FILTERED","COLD","HOT","DIRECT","INDIRECT","BTU'S","REMARKS","ITEM NUMBER"]
[{"$nulls":5},"DESIGN SPEC",null,null,"ALTERNATE",null,"OWNER FURNISHED"]
[{"$nulls":13},"ELECTRICAL",{"$nulls":6},"WATER",null,null,"WASTE",null,"GAS"]