SECTION 09900PRIVATE 

PAINTING

1       GENERAL

1.01
SECTION INCLUDES



A.
Surface preparation and field application of paints and coatings.

1

seq level1 \h \r0 

seq level2 \h \r0        EXECUTION

The contractor shall touch up paint all surfaces of either new equipment and/or work, and existing surfaces being renovated, repaired, cut to make openings, otherwise directly affected by this contract.  One coat of primer and two coats of paint matching type and color of the object to be painted shall be used.


END OF SECTION
PAGE  
Section 09900 Page 1 of 1

