Project #100-82

City of Slidell

Seventh Street Drainage Improvements

Addendum #1

March 9, 2001

To:
All Holders of Project Plans

The Following items were discussed at the pre-bid conference and are hereby made part of the contract.

1. Seventh Street will be closed from Gause Boulevard to Florida Avenue for the duration of the project.  The contractor will be responsible for all required barricades, barrels, cones and signage to accomplish the closure and all detours around the project area. 

2. Bid Proposal Form: Paragraph 5.01, Base Bid, shall read: “all work shown on contract documents, except alternates No.1 and  No.2, below.”

3. Bid Proposal Form: Paragraph 5.01, Bid Items;

A.
Delete alternate No. 3 & No. 4. (Note that the conflict boxes are listed under “Base Bid.”)

B.
Materials listed in “Bid Items Unit Prices”

Base Bid:

(6) Paving asphalt – change quantity to read 240 S.Y.

(7) Paving concrete – change quantity to read 24 S.Y.

4. Traffic loops are in place at 7th Street and Gause Boulevard.  Any damage will be the responsibility of the contractor to repair at no cost to the owner.  Provided below, as a convenience (not a recommendation), are the names of two companies that do this type of work.

Red Simpson, Inc.

Toomer Electrical Company, Inc.

(504) 733-2021


(225) 752-0100

Sincerely,
Emmett G. (Pete) Dammon, P.E.
Enclosures (2)

EGD/clh

