
SECTION 01400PRIVATE 


QUALITY CONTROL

1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Quality assurance and control of installation.



B.
References.



C.
Field samples.



D.
Manufacturers' field services and reports.


.2

RELATED SECTIONS



A.
Section 01300 ‑ Submittals: Submission of Manufacturers'    Instructions and Certificates.

B. Section 01600 ‑ Material and Equipment: Requirements for material and product quality.



C.
Reference to General Conditions


.3

QUALITY ASSURANCE/CONTROL OF INSTALLATION



A.
Monitor quality control over suppliers, manufacturers, Products, services, site conditions, and workmanship, to produce Work of specified quality.



B.
Comply fully with manufacturers' instructions, including each step in sequence.



C.
Should manufacturers' instructions conflict with Contract Documents, request clarification from Architect/Engineer before proceeding.



D.
Comply with specified standards as a minimum quality for the Work except when more stringent tolerances, codes, or specified requirements indicate higher standards or more precise workmanship.



E.
Perform work by persons qualified to produce workmanship of specified quality.

F. Secure Products in place with positive anchorage devices designed and sized to withstand stresses, vibration, physical distortion or disfigurement.

G.
Owner will appoint, employ, and pay for services of an independent firm to perform inspection and testing.


.4

REFERENCES



A.
Conform to reference standard by date of issue current on date of Contract Documents.



B.
Obtain copies of standards when required by Contract Documents.



C.
Should specified reference standards conflict with Contract Documents, request clarification for Architect/Engineer before proceeding.



D.
The contractual relationship of the parties to the Contract shall not be altered from the Contract Documents by mention or inference otherwise in any reference document.


.5

FIELD SAMPLES



A.
Install field samples at the site as required by individual specifications Sections for review.



B.
Acceptable samples represent a quality level for the Work.



C.
Where field sample is specified in individual Sections to be removed, clear area after field sample has been accepted by Architect/Engineer.


END OF SECTION
1
Section 01400 Page 1 of 1

