July 22, 2003

Ms. Sandra Beal

Claims Manager

84 Lumber Co.

1019 Rte. 519, Bldg. No. 2

Eighty Four,  PA 15330

RE:
84 Lumber, Slidell, Louisiana

Dear Ms. Beal,

As requested, I had the south property line pins flagged at the 84 lumber store on Allen Road, Slidell, Louisiana.

The property line essentially follows the chain link fence line with the fence slightly inside your property line at the front and on the fence pole at the rear being the rear pin.  The wood fence is altogether off your property, about six inches for the full length.

I noted that the wood fence along this line is in bad repair for its total length.  The metal fence (chain link) is in decent shape near the front, but the back half mostly has been bent into the wood fence by stacking lumber against it.  It should all be replaced.

The store is in the jurisdiction of the Parish (County) of St. Tammany, which requires that when a commercial property abuts that of residential, the commercial property will provide and care for a six foot high fence that is opaque in nature.  It can be constructed of wood or plants, as long as it is opaque.  In your case, I feel it would be best to go back with wood.  It does not have to have an aesthetically appealing appearance, but I would advise that the better side be to the residential side.

The person to contact with St. Tammany Parish Planning is Mr. Ron Keller, 985-898-2783.

If I can be of additional help in this or other matters, please do not hesitate to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

