January 16, 2003

John Cramer

Plan Examiner

City of Slidell/Permit Dept.

2055 Second Street

Slidell, Louisiana  70458

RE:
New Community Christian Concern Building


Certified Certificate No. 7001 1140 0000 3249 3780

Dear John,

I am in receipt of your letter dated January 10, 2003.

By copy of this memo, the contractor is instructed to accomplish the following:

1. Following placement of piles and floor beams, if the actual open span of the 2 x 12 floor joist that runs along the north side of the building and spans between the outside beam and the next beam to the south (that measured 17’-1” center to center) is greater than 15’-11”, then spacing will be changed to install the joist at 12” on center.
2. The handicap ramp on the south side of the building will be concrete.
Please feel free to call if you require any further information.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

cc:
Rex Taylor/Contractor

EGD:clh

