Addendum # 2

August 9, 2000

To:

All Plan holders of Record

Project:
Margon Court Culverts 



City of Slidell, LA



Slidell Project # 100-80

The following change is made to the contract documents:

1. Add to the  Invitation to bid

“Each bid shall be accompanied by a bid bond, certified check or cashier’s check for an amount equal to five percent (5%) of the total base bid”.

2. The bid package deposit will be refundable in accordance with R.S.38: 2212 A. The drawings and specifications must be in usable condition, non marked up.

3. ADS pipe will be acceptable.

4. TEE Inlets with “yard drain” style inlets will be acceptable.  Minimum size of riser shall be 12” pipe.

5. Use of pipe other than C900 will require work practices as described in addendum #1, starting at the West end  (down stream end) & working back to the east end.  Following completion of compaction, the contractor shall not operate equipment over the buried pipe.

Sincerely,

Emmett G (Pete) Dammon P.E.,

EGD/plc

