July 24, 2000

Buddy Doming

Office of the State Fire Marshall

5150 Florida Ave

Baton Rouge, LA 70806

RE;
P0171391 Pelican Pointe Apartments, Slidell, LA

Dear Buddy;

    Subsequent to our conversations of last week, and the letter I received from Jean Carter dated 7-21-00.

   Please be aware that the design of this project had started during the period of time, where the 1996 version of the N.E.C. was the latest issue.  I ask that you review our request using the 1996 N.E.C, and that you find the use of two services to these buildings to be acceptable because of the reasons set forth in Mr. Hills letter dated June 22, 2000.
Sincerely,

Emmett G (Pete) Dammon P.E.,

EGD/plc

